### NIT No: 171/EE-XIV/TTD/2026-27

Tirumala Tirupati Devasthanams :: Tirupati

ENGINEERING DEPARTMENT

### e-Tendering STANDARD BID DOCUMENT

I N D E X

| NO | DETAILS | Page No. |
| --- | --- | --- |
| 1. | NOTICE INVITING TENDER (NIT) |  |
| 2. | INSTRUCTIONS TO TENDERERS. |  |
|  | A) General. |  |
|  | B) Tender Document |  |
|  | C) Preparation of Tenders |  |
|  | D) Submission of Tenders |  |
|  | E) Tender Opening and Evaluation. |  |
|  | F) Award of Contract. |  |
| 3. | QUALIFICATION INFORMATION |  |
|  |  Checklist to Accompany the Tender- Annexure -I |  |
|  | Declaration - Annexure-II STATEMENTS 1 TO 7 |  |
| 4 | TENDER |  |
| 5 | CONDITIONS OF CONTRACT. |  |
|  | A) General |  |
|  | B) Time for completion. |  |
|  | C) Quality Control |  |
|  | D) Cost Control |  |
|  | E) Finishing the Contract |  |
|  | F) Special conditions. |  |
| 6. | TECHNICAL SPECIFICATIONS |  |
| 7. | DRAWINGS |  |
| 8. | FORMATS OF SECURITIES |  |
| 9. | BILL OF QUANTITIES - PREAMBLE |  |
| 10. | SCHEDULE-A |  |

### NOTICE INVITING TENDER (NIT) TIRUMALA TIRUPATI DEVASTHANAMS

ENGINEERING DEPARTMENT

### *** *** ***

| 1. | DEPARTMENT NAME | : | TIRUMALA TIRUPATI DEVASTHANAMS – Engineering |
| --- | --- | --- | --- |
| 2. | CIRCLE | : | SE-I, TTD, TIRUPATI |
| 3. | NIT NUMBER | : | 171/EE-XIV/TTD/2026-27 |
| 4. | NAME OF WORK | : | Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only). |
| 5. | ESTIMATE CONTRACT VALUE | : | Open Tender |
| 6. | PERIOD OF COMPLETION | : | 1(One) month |
| 7. | FORM OF CONTRACT AND CLASS OF CONTRACT | : | Lump Sum |
| 8. | BIDDING TYPE | : | e-procurement platform, online |
| 9. | BID CALL NO. | : | 1st Call |
| 10. | TYPE OF QUOTATION | : | Lump sum |
| 11. | TRANSACTION FEE PAYABLE TO APTS, Vijayawada (INR) payable at Vijayawada (Online) | : | As generated in on line |
| 12. | PROCESSING FEE | : | ----------- |
| 13. | PROCESSING FEE DD PAYABLE TO | : | ----------- |
| 14. | EMD payable as per On-line payment only accepted. DD/BC/PO/NEFT/RTGS Challan are not accepted and summarily rejected | : | Rs. 1,000/- |
| 15. | EMD/BID SECURITY DD PAYABLE TO | : | E.O., TTD, Tirupati. |
| 16. | BID DOCUMENT DOWNLOADING START DATE | : | 21.10.2026 from 5.00 PM |
| 17. | BID DOCUMENT DOWNLOADING END DATE | : | 05.11.2026 up to 1.00 PM |
| 18. | LAST DATE AND TIME FOR RECEIPT OF BIDS | : | 05.11.2026 up to 3.00 PM |
| 19. | BID VALIDITY | : | 90 days |
| 20. | TECHNICAL BID OPENING DATE | : | 05.11.2026 at 3.15 PM |
| 21. | COMMERCIAL BID OPENING DATE | : | 05.11.2026 at 3.30 PM |
| 22. | OFFICER INVITING BIDS | : | Chief Engineer, TTD, Tirupati |
| 23. | BID OPENING AUTHORITY |  | Executive Engineer-XIV, TTD Tirupati |
| 24. | ADDRESS |  | Executive Engineer -XIV, Room No: 01, 1st Floor T.T.D. Annexe Bldg, beside TTD Admn Bldg, K.T.Road Tirupati Chittoor Dist A.P., India. |
| 25. | CONTACT DETAILS |  | EE XIV - 9849377052 |

Procedure for bid submission:

Bids shall be submitted online on www.tender.apeprocurement.gov.in platform

The participating bidders in the tender should register themselves free of cost on e- procurement platform www.tender.apeprocurement.gov.in.

Bidders can log-in to e-procurement platform in secure mode only by signing with the Digital certificates. Digital Certificates can be obtained from Andhra Pradesh Technology Services, Vijayawada.

The bidders who are desirous of participating in e-procurement shall submit their bids as per the standard formats available at the e market place.

The bidders should scan and upload copies of Registration document and Demand drafts towards EMD & online receipt towards Transaction fee. The bidders shall sign on all the documents, uploaded by him, owning responsibility for their correctness/ authenticity.

After uploading the documents the attested copies (to be attested by a Gazetted Officer) of the uploaded documents, original Demand Draft towards EMD and on-line transaction receipt (except the Price bid / offer) are to be submitted by the successful bidder to the Tender Inviting Authority, so as to reach before entering in to agreement. Failure to furnish any one of the original hard copies of uploaded documents, before entering in to agreement by the successful bidder will be suspended from participating in tenders one procurement platform for period of three years. The TTD shall not hold any risk on account of postal delay. Similarly, if any of the certificates, documents, etc., furnished by the tenderer are found to be false / fabricated / bogus, the successful bidder will be suspended from participating in tenders one procurement plat form for a period of three years.

The TTD will not hold any risk and responsibility due to non-visibility of the scanned and uploaded documents.

The Documents that are uploaded online on e-market place will only be considered for Bid Evaluation.

General Terms & Conditions:

- Transaction fee: All the participating bidders shall pay a transaction fee (non-refundable) in on-Line transaction (non-refundable) (Generated Online) in favour M/S APTS, Vijayawada.

2.  E.M.D. Rs. 1,000/- EMD/BID SECURITY (EMD shall pay in online payment in e-Procurement platform only)

3. The successful bidder has to pay the balance EMD @ 11/2% of ECV/TCV at the time of conclusion of the Agreement in the shape of crossed DD/BG in favour of E.O., TTD, Tirupati. The eligible intending bidders would be required to enroll themselves on the e-procurement market place www.tender.apeprocurement.gov.in and submit their bids online only..

4.  Any other condition regarding receipt of tenders in conventional method appearing in the tender documents may please be treated as not applicable.

5. The successful bidder shall pay 0.04% of estimate contract value towards e-procurement corpus fund in the shape of demand draft in favour of Managing Director, Andhra Pradesh Technology Services, Vijayawada at the time of conclusion of agreement.

6. “The bidder shall authenticate the bid with his digital certificate for submitting the bid electronically on e-procurement platform and the bids not authenticated by digital certificate of the bidder will not be accepted on the e-procurement platform.” (G.O.Ms.No.6, dated 28/02/2005 of IT & C Dept., Govt. of AP).

7. As per the G.O.MS. 174, I&CAD (PW-Reforms) Department dated 01-09-2008, that the successful bidder found defaulting in submission of hard copies of uploaded certificates / documents, original DD towards EMD within the stipulated time i.e., before concluding the agreement or if any variation is noticed between the uploaded documents and the hard copies submitted by the successful bidder, the successful bidder will be suspended from participating in tenders on e-Procurement platform for a period of three years.

8. The Tenderers are requested to quote their best competitive rate as there is no negotiation further.

9.  The Quoted rate is Exclusive of GST.

10. Class of contractor Eligible:

A. The reputed Gold Jewellery manufacturers / Jewellery merchants who are in this field for the last 5 years having similar work experience are alone eligible.

B. The tenderer should submit Income Tax Return copies for the last 5 years, Proof of Income Tax PAN, Certificate of GST Registration along with Tender Document are to be produced.

C. Quality certificate and payment

1. At the time of delivery of Gold ornaments the tenderer shall submit BIS 916 Hall mark certificate along with Jewellery as proof that the Jewellery has been certified and tested at a certified BIS approved Hall marking center.

2. In case, it is found that purity of Jewellery supplied are less than   specifically stated, the same will be summarily rejected.

3. If necessary the TTD reserves the right to opt for any further quality tests of non- destructive or destructive methods to confirm the quality of the Jewellery. The contractor / Tenderer has to make good the part / parts so opted and tested. The sample numbers for testing will be as decided by TTD as per established norms & procedures.

4. On satisfactory completion and delivery of Jewellery including production of Hall marking certificate, payment may be released within 15 days.

5. The payment are made by TTD On satisfactory completion and delivery of Jewellery including production of Hall marking certificate, payment may be released within 15 days. through ECS (i.e RTGS / NEFT) only.

1. Earnest Money Deposit (EMD) of Rs.1,000-00 On-line payment submitted along with tender. The EMD does not bear any interest. EMD will be forfeited in the event of any refusal or delay on the part of the successful tenderer to accept the offer for award of work or sign and execute the contract on acceptance of his tender. EMD shall also be liable for forfeiture in case the contractor delay in commencement of work as per the contract. EMD of unsuccessful tenderers will be refunded after completion of 90 days from the date of opening of bids or after finalization of tenders whichever is earlier, EMD of successful tenderer will be retained as security deposit and will be refunded after the completion of contract period +defect liability period.

The successful tenderer has to pay further EMD at the rate of 1 ½ % of Tender Contract Value, less the EMD already paid at the time of tender, by Demand Draft obtained from any scheduled Bank drawn in favour of E.O, TTD, Tirupati at the time of concluding the agreement.

11. Technical Bid Evaluation:

(i) “The Technical Bid will be opened on the date and time prescribed. The tenderer can view the document of all participant bidders online once the technical bid is opened. In case of any objection in the technical evaluation of the tender/bid, the tenderers who participate in the tender or bid shall rise the objection in writing the period of technical evaluation i.e., 3 days for minor works (More than Rs.50 Lakhs & upto Rs.10.00 crores value bids) and 5 days for major works (More than Rs.10.00 crores value bids) and his representation at a later date will not be considered.

(ii) “If there is no objection received within the period specified above, the financial bid will be opened by the competent authority. In case of objection received, the tender opening authority shall process the same with his/her remarks to the next higher authority for taking a decision by the competent authority before opening the financial bid, and the decision taken by the next higher authority is final and binding on the tenderers.

12. Single tender received in 1st call will also considered in view of importance to complete the work at the earliest.  However, TTD reserves the right to reject the tender and decision of the recommending authority in the regard is final.

INSTRUCTIONS TO TENDERERS A – GENERAL

Name of work:  Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only).

### Scope of work:

# Give brief description

# and location of work: The TTD has decided to take up the work ‘Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)".

# ECV put to tender                                    :	Open tender

  - Give breakup of cost of major items

Covered in the ECV.

  - Period of completion                             :    1 (One) Month

SSR adopted	:	-NA-

Details of provisions included in the

CV put to Tender.

### Reimbursable Provisions:

    - GST	(works	contract)    :	As	specified	in	clause	97	of Conditions.

### BOCW cess	:	-Not applicable-

  - The Chief Engineer, TTD, Tirupati invites tenders for the above work vide Adv No.37/D3/CE/TTD/2026-27, dated.12.10.2026 through NIT No:171/EE-XIV/ TTD/ TPT/ 2026-27

Online bids for the above work will be received from the TTD Registered Contractors in Jewellery wing / Government Department of State Endowments / Central / Other states Jewellery Contractors / Reputed Private organizations / Manufacturers in Jewellery field. The eligible Contractors shall submit bids online on www.tender.apeprocurement.gov.in before the date and time stipulated in Notice Inviting Tender [NIT].

The online bids will be opened by the Executive Engineer – XIV, TTD or his nominee at his office, on the dates mentioned in NIT. If the Office happens to be closed on the dates, the opening of tenders gets automatically postponed to the next working date, the time being unaltered, unless extended by a notification published through Amendment on TTD’s Web site i.e. www.tirumala.org.

  - The successful tenderer is expected to complete the work within the time period specified in the NIT.

### Firms Eligible to Tender:

  - The Firms who

    - Possess the valid registration in the class and category mentioned in the NIT and satisfy all the conditions therein.

    - are not blacklisted or debarred or suspended by the Government for whatever the reason, prohibiting them not to continue in the contracting business

    - Have complied with the eligibility criteria specified in the NIT are the eligible tenderers.

### Firms Ineligible to Tender:

    - A retired officer of the Govt. of AP or Govt. of India executing works is disqualified from tendering for a period of two years from the date of retirement without the prior permission of the Government.

    - The Tenderer who has employed any retired officer as mentioned above shall be considered as an ineligible tenderer.

    - The contractor himself or any of his employees is found to be Gazetted Officer who retired from Government Service and had not obtained permission from the Government for accepting the contractor’s employment within a period of 2 years from the date of his retirement.

    - The Contractor or any of his employees is found at any time after award of contract, to be such a person who had not obtained the permission of the Government as aforesaid before submission of the tender or engagement in the Contractor’s service.

    - Contractor shall not be eligible to tender for works in the   division / circle where any of his near relatives are employed in the rank of Asst. Exe. Officer (jew) / Assistant Engineer or Assistant Executive Engineers and above on the Engineering side and Divisional Accounts Officer and above on the administrative side. The Contractor shall intimate the names of persons who are working with him in any capacity or are subsequently employed. He shall also furnish a list of Gazetted /Non-Gazetted, State Government Employees related to him. Failure to furnish such information tenderer is liable to be

removed from the list of approved contractors and his contract is liable for cancellation.

### Note: Near relatives include

      - Sons, step sons, daughters, and step daughters.

      - Son-in-law, and daughter-in-law.

      - Brother-in-law, and sister-in-law.

      - Brothers and Sisters.

      - Father and Mother.

      - Wife / Husband.

      - Father-in-law and Mother-in-law

      - Nephews, nieces, uncle and aunties

      - Cousins and

      - Any person residing with or dependent on the contractor.

### Qualification data of the Tenderers

  - The tenderer shall furnish particulars as specified in Check List.

    - Check List to accompany Tender (Annexure-I)

    - Attested copies of documents relating to the Registration of the firm, Registration as Jewellery Contractor, Partnership deed, Articles of Association, Commercial Tax / GST Registration. Furnishing of Income tax certificate is dispensed with. However the contractors shall furnish their copy of permanent Account Number (PAN) Card and copy of Latest Income tax returns submitted along with proof.

Note: The Partnership firms, which are registered as Contractors shall intimate the change in partnership deed, if any, as per GO Ms No.58, I & CAD, dt.23.4.2002 within one month of such change. Failure to notify the change to the registration authority in time will entail the firms to forfeit their registration and their tender will be rejected. The intimation of change of partners if any and the acceptance by the Registration authority may be enclosed.

    - Information regarding any litigation, with Government during the last five years, in which the Tenderer is involved in (Statement - VII);

  - Tenders from Joint Ventures are not acceptable unless specifically stated otherwise.

### QUALIFICATION DATA OF THE TENDERER.

A) The tenderer shall furnish the particulars as specified in Check list in Annexure-I.

  - Even though the tenderers meet the above qualifying criteria, they are liable to be disqualified / debarred / suspended / blacklisted if they have

- Furnished false / fabricated particulars in the forms, statements and / annexure submitted in proof of the qualification requirements and/or

- Not turned up for entering into agreement, when called upon.

- record of poor progress such as abandoning the work, not properly completing the contract, inordinate delays in completion, litigation history or financial failures etc. and/or

- participated in the previous bidding for the same work and had quoted unreasonably high tender percentage and

- even while execution of the work, if found that the work was awarded to the Contractor based on false / fake certificates of experience, the Contractor will be blacklisted and work will be taken over invoking clause 61 of PS to APSS.

### The Tenderers are requested to quote their best competitive rate as there is no negotiation further.

- One Tender per Tenderer:

  - Each Tenderer shall submit only one Tender for the work. A Tenderer who submits more than one Tender will cause dis-qualification of all the Tenders submitted by the Tenderer.

### Cost of Tendering

  - The Tenderer shall bear all costs associated with the preparation and submission of his Tender and the tender inviting authority will in no case be responsible and liable for those costs.

### Site Visit.

  - The Tenderer, at the Tenderer’s own responsibility and risk is advised to visit and examine the Site of Work and its surroundings and obtain all information that may be necessary for preparing the Tender for entering into a contract, for execution of the work. The costs of visiting the site shall be at the Tenderer’s own expense.

B. TENDER DOCUMENT

### Contents of Tender document.

  - One set of Tender document, comprises of the following:

Technical bid

Price bid

- Notice Inviting Tenders (NIT)

- Instruction to Tenderers

- Forms of Tender and qualification information

- Conditions of Contract.

- Specifications.

- Drawings.

- Forms of Securities. i.e., EMD, Additional Security etc.

- Bill of Quantities and Price bid. Schedule-A.

- Bill of quantities – part – II (Reimbursable provisions)

### Clarification on Tender Documents

    - A prospective Tenderer requiring any clarification on Tender documents may contact the Tender Inviting Officer in advance at the address indicated in the NIT. The Tender Inviting Officer will also respond to any request for clarification in advance received through post.

### Amendment to Tender Documents

    - Before the last date for submission of Tenders, the Tender Inviting Officer may modify any of the Contents of the Tender Notice, Tender documents by issuing amendment / Addendum.

    - Any addendum/amendments issued by the Tender Inviting Officer shall be part of the Tender Document and it shall either be communicated as documents or notified in the News Papers/ in TTD’s web site in which NIT was published.

    - To give prospective Tenderers reasonable time to take an addendum into account in preparing their bids, the Tender Inviting Officer may extend if necessary, the last date for submission of tenders.

### C.	PREPARATION OF TENDERS.

- Language of the Tender.

  - All documents relating to the tender shall be in the English Language only.

### Bid Offer:

  - Bill of Quantities called Schedule “A” and the bid offer accompanies the tender document as Volume - II. It shall be explicitly understood that the Tender Inviting Officer does not accept any responsibility for the correctness or completeness of this schedule ‘A’ and this schedule ‘A’ is liable to alterations by omissions, deductions or additions at the discretion of the Superintending Engineer or as set forth in the conditions of the contract. The Schedule “A” shall contain the items of work indicated as Part– I and LS provisions as part–II. The percentage quoted by the contractor shall be applicable only to Part–I. However, the provisions contained in the Part –II will be operable basing on the conditions provided in the Tender Document. The tenderers will have to state clearly their willingness to execute the work at certain specific percentage of excess or less or at par of the ECV indicated in Part-I at the space provided therein in Schedule ‘A’. The L.S. amounts indicated in Part-II are reimbursable amounts. The tenderer should however quote his lump sum tender based on this schedule of quantities. He should quote his offer as a overall tender percentage. The overall tender percentage should be written both in words and figures.

### The Schedule –A (or Price-bid) contains only the quantities. It is an open tender, the rates and the amount for each item shall have to be quoted by the tenderer. The tenderer should workout his own rates keeping in view the work, site conditions and quote his competitive tender rates for each item with which he intends to execute the work.

  - The bid offer shall be for the whole work and not for part of the work.

  - All duties, taxes, and other levies payable by the contractor as per State / Central Government rules, shall be included in the tender rates quoted by the tenderer but excluding GST, however keeping in view the reimbursable amounts specified.

  - The tendered contract amount as computed based on tender rates is subject to variation during the performance of the Contract in accordance with variation in quantities etc.

### Charges Payable to APTS

The successful bidder will pay further fee @ 0.04% of ECV (Estimated contract value) i.e., payable to APTS. (The ceiling amount of Transaction fee for works costing ECV up to Rs 50.00 Crores is Rs 10,000.00 and for works costing with ECV above Rs 50.00 Crores the ceiling amount of transaction fee is Rs 23,000/-) to create e procurement corpus fund to be administered by APTS. The above fee is payable by the successful bidder through a DD drawn in favour of M/S APTS , Vijayawada at the time of conclusion for the agreement . The said DD shall be sent to MD APTS by the Executive Engineer / Superintending Engineer who is entering in to agreement with the successful bidder.

### Validity of Tenders:

  - Tenders shall remain valid for a period of not less than three (3) months from the last date for receipt of Tender specified in NIT.

  - During the above mentioned period no plea by the tenderer for any sort of modification of the tender based upon or arising out of any alleged misunderstanding of misconceptions or mistake or for any reason will be entertained.

  - In exceptional circumstances, prior to expiry of the original time limit, the Tender Inviting Officer may request the bidders to extend the period of validity for a specified additional period. Such request to the Tenderers shall be made in writing. A Tenderer may refuse the request without forfeiting his E.M.D. A Tenderer agreeing to the request will not be permitted to modify his Tender, but will be required to extend the validity of his

E.M.D. for a period of the extension.

### Earnest Money Deposit

  - The Tenderer shall furnish, Earnest Money Deposit equivalent to 1% of ECV at the time of tender (Para 7.0 of GO Ms.No 36). The DD/BG shall be from any Scheduled Commercial Bank valid for a period of 3 months. (The EMD by D.D/B.G alone is acceptable and shall be uploaded accordingly). Photo copy of the DD is to be scanned and uploaded along with the Bid and as per the G.O.Ms 174, I&CAD (PW-Reforms) Department dated 01-09-2008 , that the successful bidder found defaulting in submission of hard copies of uploaded certificates / documents, original DD/BG towards EMD within the stipulated time i.e before concluding the agreement or if any variation is noticed between the uploaded documents and the hard copies submitted by the successful bidder, the successful bidder will be suspended from participating in tenders on e-Procurement platform for a period of three years

  - The balance EMD @ 1½% of ECV / TCV whichever is higher shall be paid at the time of concluding Agreement by the successful Tenderer. This EMD can be in the form of a bank demand draft on any Nationalized bank/Scheduled Commercial Bank.

  - The 1% E.M.D. paid by the successful Tenderer at the time of submission of hard copies of Tender documents through Demand Draft will be discharged if the Tenderer furnishes Bank Guarantee for the full EMD of 2½% at the time of concluding agreement.

  - The earnest money deposited by the successful tenderer will not carry any interest and it will be dealt with as provided in the conditions stipulated in the tender. The E.M.D.

given in the form of Bank Guarantee on any Scheduled Commercial Bank shall be valid for the duration of contract period plus defect liability period of two years and in case any valid extension of contract period is granted, the validity of BG shall also be extended for the corresponding period. The Bank Guarantee furnished by the tenderer towards additional security amount shall be valid till the work is completed in all respects.

  - The E.M.D. shall be forfeited.

    - In the case of a successful Tenderer, if he fails to sign the Agreement for whatever the reason.

In consideration of the Executive Engineer / Superintending Engineer /Chief Engineer of Tenders undertaking to investigate and to take into account each tender and in consideration of the work thereby involved, all earnest monies deposited by the tenderer will be forfeited to the TTD, Tirupati in the event of such tenderer either modifying or with-drawing his tender at his instance within the said validity period of three months.

### Signing of Tenders.

  - If an individual makes the tender, it shall be signed with his full name and his address shall be given. If it is made by a firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, and the name and address of each member of the firm shall be given, if the tender is made by a corporation it shall be signed by a duly authorized officer who shall produce with his tender satisfactory evidence of his authorization. Such tendering corporation may be required before the contract is executed, to furnish evidence of its corporate existence. Tenders signed on behalf of G.P.A. holder will be rejected.

  - The Tender shall contain no alterations or additions, except those to comply with instructions issued by the Tender Inviting Officer, or as necessary to correct errors made by the Tenderer, in which case all such corrections shall be initialed by the person signing the Tender.

  - No alteration which is made by the tenderer in the contract form, the conditions of the contract, the drawings, specifications or statements / formats or quantities accompanying the same will be recognized; and, if any such alterations are made the tender will be void.

### D SUBMISSION OF TENDERS

- Last date / time for Submission of the Tenders.

  - Tenders must be submitted not later than the date and time specified in NIT. In the event of the specified date / time for the submission of bids declared as holiday, the bids will be received on the next working day.

  - The Executive Engineer /Superintending Engineer / Chief Engineer, TTD, may extend the dates for issue and receipt of Tenders by issuing an amendment in which case all rights and obligations of the Superintending Engineer and the Tenderers will remain same as previously.

### Modification to the Tender.

  - No Tender can be modified after the last date /time of submission of Tenders.

### E.TENDER OPENING AND EVALUATION

- Tender opening

  - The technical bid containing qualification requirements as per Annexures I will be evaluated by the tender opening authority and the results are recorded which will be signed by the tender opening authority

### Clarification on the Technical Bid.

  - The tender opening authority may call upon any tenderer for clarification on the statements, documentary proof relating to the technical bid. The request for clarification and response thereto shall be in writing and it shall be only on the qualification information furnished by the tenderer. The clarification called for from the tenderers shall be furnished within the stipulated time, which shall not be more than a week.

  - The tenderer if so desirous, shall agree in writing to furnish the clarification called for within the stipulated time and, for disqualification and rejection of his tender in the event of failure to do so.

### Examination of technical Bids and Determination of Responsiveness

  - The Executive Engineer will evaluate whether each Tenderer is satisfying the eligibility criteria prescribed in the tender document and declares them as a qualified Tenderer.

  - If the technical bid of a Tenderer is not satisfying any of the eligibility criteria it will be rejected by the Executive Engineer. However, the tender accepting authority detects any error in the evaluation of Tenders by Executive Engineer, the tender accepting authority while returning the tenders may direct the Superintending Engineer or Chief Engineer as the case may be, to re-evaluate the tenders.

  - If any condition is made by the tenderer as addition/alteration to the tender documents, the conditions of the contract, the drawings, specifications or statements / formats or quantities the tender will be rejected.

### Price Bid Opening:

  - Only the Price Bids of qualified Tenderers who’s technical Bids are found satisfying the eligibility criteria shall be opened.

  - In case of any ambiguity, the decision taken by the Tender Accepting Authority on tenders shall be final.

### Evaluation and Comparison of Price Bids

  - The Executive Engineer will evaluate and compare the price bids of all the qualified Tenderers.

  - Negotiations at any level are strictly prohibited. However, good gesture rebate, if offered by the lowest tenderer prior to finalization of tenders may be accepted by the tender accepting authority.

  - Selection of Tenderer among the lowest & equally quoted tenderers will be in the following orders:

### The lowest tenderer will be decided on overall (L1) valve of the tender for the valve of all the items put together.

- If there are more than one tenderer who have quoted equal total amount, then among them sealed quotations will be called for to decide L1.

### Process to be Confidential.

  - Information relating to the examination, clarification, evaluation and comparison of Tenders and recommendations for the award of a contract shall not be disclosed to Tenderers or any other persons not officially concerned with such process until the award to the successful Tenderer has been announced by the tender accepting authority. Any effort by a Tenderer to influence the processing of Tenders or award decisions may result in the rejection of his Tender.

  - No Tenderer shall contact the Executive Engineer or any authority concerned with finalization of tenders on any matter relating to its Tender from the time of the Tender opening to the time the Contract is awarded. If the Tenderer wishes to bring additional information to the notice of the Superintending Engineer, it should do so in writing.

  - Before recommending / accepting the tender, the tender recommending / accepting authority shall verify the correctness of certificates submitted to meet the eligibility criteria and specifically experience. The authenticated agreements of previous works executed by the lowest tenderer shall be called for.

  - Tenders will be finalized by the Executive Engineer/ Superintending Engineer / Chief Engineer / Executive Officer according to the powers vested with them.

### F.	AWARD OF CONTRACT

- Award Criteria

  - The Tenderer whose Tender has been accepted will be notified of the award of the work by the Executive Engineer/Superintending Engineer, prior to expiration of the Tender validity period by registered letter. This letter (hereinafter and in the Conditions of Contract called “Letter of Acceptance”) will indicate the sum that the T.T.Devasthanams will pay the Contractor in consideration of the execution, completion, and maintenance of the Works by the Contractor as prescribed by the Contract (hereinafter and in the Contract called the “Contract Amount”).

  - If the lowest bidder backs out at the time of agreement, penalty of forfeiture of EMD will be imposed and business of the agency will be suspended for one year with all the Departments in A.P in respect of conventional tenders also vide G.O.Ms.No. 259 of T, R&B (R.V) dept., dt. 6.9.2008.

### Notification of Award and Signing of Agreement.

  - The Tenderer whose Tender has been accepted will be notified of the award of the work by the Executive Engineer, prior to expiration of the Tender validity period by registered letter. This letter (hereinafter and in the Conditions of Contract called “Letter of Acceptance”) will indicate the sum that the T.T.Devasthanams will pay the Contractor in consideration of the execution, completion, and maintenance of the Works by the Contractor as prescribed by the Contract (hereinafter and in the Contract called the “Contract Amount”).

  - When a tender is to be accepted the concerned tenderer shall attend the office of the Executive Engineer concerned on the date fixed in the Letter of acceptance. Upon intimation being given by the Executive Engineer, of acceptance of his tender, the tenderers shall make payment of the balance E.M.D., and additional security deposit wherever needed by way of Demand Draft or unconditional and irrevocable Bank Guarantee obtained from a Nationalized / Scheduled Bank with a validity period of 12 Months and sign an agreement in the form prescribed by the department for the due fulfillment of the contract. Failure to attend the Executive Engineer’s office on the date fixed, in the written intimation, to enter into the required agreement shall entail forfeiture of the Earnest Money deposited. The written agreement to be entered into between the contractor and the T.T.Devasthanams shall be the foundation of the rights and obligations of both the parties and the contract shall not be deemed to be complete until the agreement has first been signed by the contractor and then by the proper officer authorized to enter into contract on behalf of the T.T.Devasthanams.

  - The successful tenderer has to sign an agreement within a period of 10 days from the date of receipt of communication of acceptance of his tender. On failure to do so his tender will be cancelled duly forfeiting the E.M.D., paid by him without issuing any further notice and action will be initiated for black listing the tenderer.

  - If the lowest bidder backs out at the time of agreement, penalty of forfeiture of EMD will be imposed and business of the agency will be suspended for one year with all the Departments in A.P in respect of conventional tenders also vide G.O.Ms.No. 259 of T, R&B (R.V) dept., dt. 6.9.2008.

### Corrupt or Fraudulent Practices

  - The Government requires that the bidders / suppliers / contractors under Government financed contracts, observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, the T.T.Devasthanams.

    - Define for the purposes of the provision, the terms set forth below as follows:

      - “Corrupt practices” means the offering, giving, receiving or soliciting of anything of value to influence the action of a T.T.Devasthanams official in procurement process or in contract execution: and

      - “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the T.T.Devasthanams and includes collusive practice among Tenderers (prior to or after Tender submission) designed to establish in Tender prices at artificial non-competitive levels and to deprive the T.T.Devasthanams of the benefits of free and open competition.

    - Will reject a proposal for award if it determines that the Tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question.

    - Will blacklist / or debar a firm, either indefinitely or for a stated period of time, if at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing a T.T.Devasthanams Contract.

    - Furthermore, Tenderers shall be aware of the provisions stated in the General Conditions of Contract.

### QUALIFICATION INFORMATION

Annexure –I

| S.N o | Description | Uploaded |  |
| --- | --- | --- | --- |
| 1 | 2 | 3 |  |
| 1 | Copy of Contractors valid Registration under appropriate Class with TTD Registered Contractors in Jewellery wing / Government Department of State Endowments / Central / Other states Jewellery Contractors / Reputed Private organizations / Manufacturers in Jewellery. | Yes / No |  |
| 2 | The contractor shall furnish their copy of permanent account number PAN Card | Yes / No |  |
| 3 | The contractor shall furnish their copy of GST Registration | Yes / No |  |
| 4 | Solvency certificate of Rs 1.00 Lakhs and not older than 1 Year | Yes / No |  |
| 5 | List of experience certificates enclosed for one year | Yes / No |  |
| 6 | Declaration as given below (Annexure – II) with Mobile No. and email ID. | Yes/No |  |
| 7 | EMD of Rs.1,000/- shall pay in online payment in e-Procurement platform only | Yes/No |  |

Notes:-

The information shall be filled-in by the Tenderer in the checklist and statements 1 to 15, and shall be enclosed to the Technical bid for the purposes of verification as well as evaluation of the tenderer’s Compliance to the qualification criteria as provided in the Tender document.

### ANNEXURE-II DECLARATION

I / WE ………………………………………………………………. Have gone through carefully all the Tender conditions and solemnly declare that I / we will abide by any penal action such as disqualification or black listing or determination of contract or any other action deemed fit, taken by, the Department against us, if it is found that the statements, documents, certificates produced by us are false / fabricated.

I / WE hereby declare that, I / WE have not been blacklisted / debarred / Suspended / demoted in any department in Andhra Pradesh or in any State due to any reasons.

### Signature of the Tenderer

To

The Executive Officer,

T.T.Devasthanams,

Tirupati.

Sir,

I / We do hereby tender and if this tender be accepted, under take to execute the

# following work of “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)". as shown in the drawings (wherever applicable) and described in the specifications deposited in the office of the Executive Engineer / Superintending Engineer – I, TTD, Tirupati with such variations by way of alterations or additions to, and commissions from the said works and method of payment as provided for in the “conditions of the contract” for the sum of or such other sum as may be arrived under the clause of the standard preliminary specifications relating to “Payment on lump-sum basis or by final measurement at unit rates”.

I/WE have also quoted percentage excess or less on E.C.V., in Schedule ‘A’ Part-I, annexed (in words and figures) for which I/We agree to execute the work when the lump sum payment under the terms of the agreement is varied by payment on measurement quantities.

I/WE agreed to keep the offer in this tender valid a period of Three month(s) mentioned in the tender notice and not to modify the whole or any part of it for any reason within above period. If the tender is withdrawn by me/us for any reasons whatsoever, the earnest money paid by me/us will be forfeited to TTD.

I/WE hereby distinctly and expressly, declare and acknowledge that, before the submission of my/our tender I/We have carefully followed the instructions in the tender notice and have read the A.P.S.S. and the preliminary specifications therein and the A.P.S.S. addenda volume and that I/We have made such examination of the contract documents and the plans, specifications and quantities and of the location where the said work is to be done, and such investigation of the work required to be done, and in regard to the material required to be furnished as to enable me/us to thoroughly understand the intention of same and the requirements, covenants, agreements, stipulations and restrictions contained in the contract, and in the said plans and specifications and distinctly agree that I/We will not hereafter make any claim or demand upon the TTD based upon or arising out of any alleged misunderstanding or misconception /or mistake on my/or our part of the said requirement, covenants, agreements, stipulations, restrictions and conditions.

I/WE enclosed to my/our Tender schedule a crossed demand draft No…………………………dated:………………… for Rs…………………………, drawn onank:………… ……………………. Place	as earnest money not to

bear interest.

I/WE shall not assign the contractor or sublet any portion of the same. In case if it becomes necessary such subletting with the permission of the Executive Engineer shall be limited to (1) Labour contract, (2) Material contract, (3) Transport contract and (4) Engaging specialists for special item of work enjoined in A.P.S.S.

IF MY/OUR tender is not accepted the sum shall be returned to me/us on application when intimation is sent to me/us of rejection or at the expiration of three months from last date of receipt of this tender, whichever is earlier. If my/our tender is accepted the earnest money shall be retained by the TTD as security for the due fulfillment of this contract. If upon written intimation to me/us by the Superintending / Executive Engineer’s Office, I/We fail to attend the said office on the date herein fixed or if upon intimation being given to me/us by the Superintending /Executive Engineer or acceptance of my/our tender, and if I/We fail to make the additional security deposit or to enter into the required agreement as defined in condition-3 of the tender notice, then I/We agree the forfeiture of the earnest money. Any notice required to be served on me/us here under shall be sufficiently served on me/us if delivered to me/us hereunder shall be sufficiently served on me/us if delivered to me/us personally or forwarded to me/us by post to (registered or ordinary) or left at my/our address given herein. Such notice shall if sent by post be deemed to have been served on me/us at the time when in due course of post it would be delivered at the address to which it is sent.

I/WE fully understand that the written agreement to be entered into between me/us and Government shall be the foundation of the rights of the both the parties and the contract shall not be deemed to be complete until the agreement has first been signed by me/us and then by the proper officer authorised to enter into contract on behalf of T.T.D.

I/WE will employ the skilled persons for supervising the work and will see that one of them is always at site during working hours, personally checking all items of works and pay extra attention to such works as required special attention (eg) copper design work and Gold malam work.

TENDER

Date………

### TENDERERS / CONTRACTOR’S CERTIFICATE.

- I/WE hereby declare that I/We have perused in detail and examined closely the Andhra Pradesh Standard Specifications, all clauses of the preliminary specifications with all amendments and have either examined all the standards specifications or will examine all the standard specifications for items for which I/We tender, before I/We submit such tender and agree to be bound and comply with all such specifications for this agreement which I/We execute in the TTD.

- I/WE certify that I/We have inspected the site of the work before quoting my rates for each item; I /We have satisfied about the quality, availability and transport facilities etc.

- I/WE am/are prepared to furnish detailed data in support of all my quoted rates, if and when called upon to do so without any reservations.

- I/WE hereby declare that I/We will pay an additional security deposit in terms of conditions 3.6 of general instructions to tenderer.

- I/WE hereby declare that I am/we are accepting to reject my tender in terms of condition 3.7 general instructions to tenderer.

- I/WE hereby declare that I/We will not claim any price escalation.

- I/WE hereby declare that I am/ we are accepting for the defect liability period as 12 months under clause 28 of APSS.

- a)   I/WE declare that I/WE will procure the required consumable materials use for the work after approval of the Engineer-in-Charge

- I/WE declare that I/WE will not claim any extra amount towards any consumable material used for the work other than the quoted works for respective schedule ‘A’ items.

- I/WE declare that I/WE will execute the work as per the mile stone programme, and if I/WE fail to complete the work as per the mile stone programme I abide by the condition to recover liquidated damages as per the tender conditions.

- I / WE declare that I/We will abide for settlement of disputes as per the tender conditions.

### DECLARATION OF THE TENDERER.

- I/WE have not been black listed in any department in Andhra Pradesh or any State or Centre or Statutory Bodies due to any reasons.

- I/WE have not been demoted to the next lower category for not filing the tenders after buying the tender schedules in a whole year and my/our registration has not been cancelled for a similar default in two consecutive years.

- I/WE agree to disqualify me/us for any wrong declaration in respect of the above and to summarily reject my/our tender.

Address of the Tenderer:

Phone No.:	Fax No.:

CONDITIONS OF CONTRACT:-

  - GENERAL

### Interpretation:

  - In interpreting these Conditions of Contract, singular also means plural, male also means female, and vice-versa. Headings have no significance. Works have their normal meaning under the language of the contract unless specifically defined. The Engineers-in-charge will provide instructions clarifying queries about the conditions of Contract.

  - The documents forming the Contract shall be interpreted in the following order of priority:

    - Agreement

    - Letter of Acceptance, notice to proceed with the works

    - Contractor’s Tender (Technical bid)

    - Conditions of contract

    - Specifications

    - Drawings

    - Bill of quantities (Price-bid)

    - Any other document listed as forming part of the Contract.

    - EMD.

### Engineer-in-Charge’s Decisions:

  - Except where otherwise specifically stated, the Engineer-in-charge will decide the contractual matters between the Department and the Contractor in the role representing the Department.

### Delegation:

  - The Engineer-in-charge may delegate any of his duties and responsibilities to other officers and may cancel any delegation by an official order issued.

### Communications:

  - Communications between parties, which are referred to in the conditions, are effective only when in writing. A notice shall be effective only when it is delivered (in terms of Indian Contract Act)

### Other Contractors:

  - The Contractor shall cooperate and share the Site with other contractors, Public authorities, utilities, and the Department. The Contractor shall also provide facilities and services for them as directed by the Engineer-in-charge.

### Personnel:

  - The Contractor shall employ the required skilled Personnel to carry out the functions stated in the Schedule or other personnel approved by the Engineer-in-charge. The Engineer-in-charge will approve any proposed replacement of skilled Personnel only if their qualifications, abilities, and relevant experience are substantially equal to or better than those of the personnel listed in the Schedule.

  - In case the contractor is already having more than one work on hand and has undertaken more than one work at the same time, he should employ separate skilled personnel on each work.

  - If the Engineer-in-charge asks the Contractor to remove a person who is a member of Contractor’s staff or his work force stating the reasons the Contractor shall ensure that the person leaves the site forthwith and has no further connection with the work in the contract.

### Contractor’s Risks:

  - All risks of loss of or damage to physical property and of personnel injury and death, which arise during and in consequence of the performance of the Contract are the responsibility of the Contractor.

### Site Inspections:

  - The contractor should inspect the site and quote his rates including quarrying, conveyance and all other charges etc.

9      Insurance: Deleted in approved TTD Board vide Res.No.34, dated.06.05.2026 and Note Roc No.TTD-36021(32)/1/2026-SE-II SEC-TTD (Comp No.3122301) dated 15.05.2026

### 10         Contractor to Construct the Works:

10.2      The Contractor shall execute and Commission the Work in accordance with the specifications and Drawings.

11         Deleted (Diversion of streams / Vagus / Drains)

12.        Deleted (Temporary Diversions (Works on Highways))

### 13.        Deleted (Ramps :)

Ramps required during execution may be formed wherever necessary and same are to be removed after completion of the work. No separate payment will be made for this purpose.

### 14.        Deleted (Monsoon Damages):

15.        The works to be Completed by the Intended Completion Date:

15.1      The Contractor may commence execution of the Works on the Start Date and shall carry out the Works in accordance with the programme submitted by the Contractor, as updated with the approval of the Engineer-in-Charge, and complete the work by the Intended Completion Date. Failure to comply will result in action as per APDSS and also as per G.O.Ms.No.94 I&CAD (PW.COP) dated 01.07.2003.

### 16         Safety:

16.1      The Contractor shall be responsible for the safety of all activities on the Site of work.

### 17.       Discoveries:

17.1      Anything of historical or other interest or of significant value unexpectedly discovered on the Site is the property of the Government / T.T. Devasthanams.   The Contractor is to notify the Engineer-in-charge of such discoveries and carry out the Engineer-in- Charge’s instructions for dealing with them.

### 18.        Possession of the Site.

18.1      The Department shall give possession of the site to the Contractor. If possession of a part site is given, the Department will ensure that the part site so handed over is amenable to carry out the work at site by the Contractor.

### 19.        Access to the Site:

19.1      The Contractor shall provide the Engineer-in-Charge and any person authorized by the Engineer-in-Charge, access to the site and to any place where work in connection with the Contract is being carried out or is intended to be carried out.

### 20.         Instructions:

20.1       The Contractor shall carry out all instructions of the Engineer-in-charge and comply with all the applicable local laws where the Site is located.

### 21.         Settlement of disputes:

21.1       If any dispute of difference of any kind whatsoever arises between the department and the Contractor in connection with, or arising out of the Contract, whether during the progress of the works or after their completion and whether before or after the

termination, abandonment or breach of the Contract, it shall in the first place, be referred to and settled by the Engineer-in-charge who shall, within a period of thirty days after being requested by the Contractor to do so, give written notice of his decision to the Contractor. Upon receipt of the written notice of the decision of the Engineer-in-Charge the Contractor shall promptly proceed without delay to comply with such notice of decision.

21.2     If the Engineer-in-Charge fails to give notice of his decision in writing within a period of thirty days after being requested or if the Contractor is dissatisfied with the notice of the decision of the Engineer-in-Charge, the Contractor may within thirty days after receiving the notice of decision appeal to the Department who shall offer an opportunity to the contractor to be heard and to offer evidence in support of his appeal, the Department shall give notice of his decision within a period of thirty days after the Contractor has given the said evidence in support of his appeal, subject to arbitration, as hereinafter provided. Such decision of the Department in respect of every matter so referred shall be final and binding upon the Contractor and shall forthwith be given effect to by the Contractor, who shall proceed with the execution of the works with all due diligence whether he requires arbitration as hereinafter provided, or not. If the Department has given written notice of his decision to the Contractor and no claim to arbitration, has been communicated to him by the Contractor within a period of thirty days from receipt of such notice the said decision shall remain final and binding upon the Contractor. If the Department fail to give notice of his decision, as aforesaid within a period

of thirty days after being requested as aforesaid, or if the Contractor be dissatisfied with any such decision, then and in any such case the contractor within thirty days after the expiration of the first named period of thirty days as the case may be, require that the matter or matters in dispute be referred to arbitration as detailed below:- SETTLEMENT OF CLAIMS:

Settlement of claims for Rs.50,000/- and below by Arbitration.

All disputes or difference arising of or relating to the Contract shall be referred to the adjudication as follows:

- Claims up to a value of Rupees 10,000/-.

  - Superintending Engineer, [of another circle in the same department of TTD.

- Claims above Rs.10, 000/- and up to Rupees 50,000/-.

  - Another Chief Engineer, [from the Government Department of A.P.]

The arbitration shall be conducted in accordance with the provisions of Indian Arbitration and Conciliation Act 1996 or any statutory modification thereof.

The arbitrator shall state his reasons in passing the award. Claims above Rs.50, 000/-.

All claims of above Rs.50,000/- are to be settled by a Civil Court of competent jurisdiction by way of civil suit and not by arbitration.

A reference for adjudication under this clause shall be made by the contractor within six months from the date of intimating the contractor of the preparation of final bill or his having accepted payment whichever is earlier.

21.3     JURISDICTION:

For the purpose of this agreement all the transactions shall be deemed to have taken place within the state of ANDHRA PRADESH and the courts in ANDHRA PRADESH shall have jurisdiction over the matters arising under or out of this agreement.

### TIME FOR COMPLETION

22         Program:

22.1     The total period of completion is One (1) Month from the date of entering with agreement to proceed including rainy season. Keeping in view , the schedule handing over of site given in condition 21.4 of (ii) work should be programmed such as to achieve the mile-stones as in “Rate of progress statement” enclosed, in clause 21.4

22.2    The attention of the tenderer is directed to the contract requirement at the time of beginning of the work, the rate of progress and the dates for the whole work and its several parts as per milestones. The following rate of progress and proportionate value of work done from time to time as will be indicated by the Executive Engineer’s Certificate for the value of work done and completion of mile-stones will be required. Date of commencement of their programme will be the date for concluding agreement.

22.3    After signing the agreement, the contractor shall forthwith begin the work, shall regularly and continuously proceed with them.

### 23.       Rate of progress:

- Work programme of achieving the milestones.

| Sl.No. | Period after date of signing in the agreement.. | % of work to be completed (Based on contract lump-sum amount) |
| --- | --- | --- |
| 1 | Upto end of One(1) Month | 100% |

- Site Schedule of programme after signing in the agreement by the contractor.

23.1  The contractor shall commence the works on the work shop provided by TTD within the period specified under condition 23.1 to 23.4 above after the receipt by him of a written order to this effect from the Executive Engineer / Superintending Engineer and shall proceed with the same with due expedition and without delay, except as may be expressly sanctioned or ordered by the Executive Engineer / Superintending Engineer, or be wholly beyond the contractor’s control.

23.2   The contractor shall bear all costs and charges for special or temporary way leases required by him for the purposes of the work.

23.3. Subject to any requirement in the contract as to completion of any section of the works before completion of the whole of the works shall be completed in accordance with provisions of clauses in the Schedule within the time stated in the contract calculated from the last day of the period named in the statement to the tender as that within which the works are to be commenced or such extended time as may be allowed.

### 23.4   Delays and extension of time:

No claim for compensation on account of delays or hindrances to the work from any cause whatever shall lie, except as hereafter defined. Reasonable extension of time will be allowed by the Executive Engineer or by the officers competent to sanction the extension, for unavoidable delays, such as may result from causes, which in the opinion of the Executive Engineer, are undoubtedly beyond the control of the contractor. The Executive Engineer shall assess the period of delay or hindrance caused by any written instructions issued by him, at twenty five per cent in excess or the actual working period so lost.

In the event of the Executive Engineer failing to issue necessary instructions and thereby causing delay and hindrance to the contractor, the latter shall have the right to claim an assessment of such delay by the Superintending Engineer of the Circle whose decision will be final and binding. The contractor shall lodge in writing with the Executive Engineer a statement of claim for any delay or hindrance referred to above, within fourteen days from its commencement, otherwise no extension of time will be allowed.

Whenever authorized alterations or additions made during the progress of the work are of such a nature in the opinion of the Executive Engineer as to justify an extension of time in consequence thereof, such extension will be granted in writing by the Executive Engineer or other competent authority when ordering such alterations or additions.

### 24.       Execution Programme:

24.1   The Contractor shall furnish within one month of the order of the work a programme showing the sequence in which he proposed to carry out the work, monthly progress expected to be achieved. The schedule should be such that it is practicable to achieve completion of the whole work within the time limit fixed and in keeping with the Mile stone programme specified and shall obtain the approval of the Engineer-in- charge. Further rate of the progress as in the program shall be kept up to date. In case it is subsequently found necessary to alter this program, the contractor shall submit sufficiently in advance the revised program incorporating necessary modifications and get the same approved by the Engineer-in-charge. No revised program shall be operative without approval of Engineer-in-charge.

24.2   The Executive Engineer shall have all times the right, without any way violating this contract, or forming grounds for any claim, to alter the order of progress of the works or any part thereof and the contractor shall after receiving such directions proceed in the order directed. The contractor shall also report the progress to the Superintending Engineer within 7 days of the Executive Engineer’s direction to alter the order of progress of works.

### 25.       Speed of Work:

25.1    The Contractor shall at all times maintain the progress of work to conform to the latest operative progress schedule approved by the Engineer-in-Charge. The contractor should furnish progress report indicating the programme and progress once in a month. The Engineer-in-Charge may at any time in writing direct the contractor to slow down any part or whole of the work for any reason (which shall not be questioned) whatsoever, and the contractor shall comply with such orders of the Engineer-in-Charge. The compliance of such orders shall not entitle the contractor to any claim of compensation. Such orders of the Engineer-in-Charge for slowing down the work will however be duly taken into account while granting extension of time if asked by the contractor for which no extra payment will be entertained.

25.2   Delays in Commencement or progress or neglect of work and forfeiture of earnest money, Security deposit and withheld amounts:

If, at any time, the Engineer-in-Charge shall be of the opinion that the Contractor is delaying Commencement of the work or violating any of the provisions of the Contractor is neglecting or delaying the progress of the work as defined by the tabular statement. “Rate of progress” in the Articles of Agreement”, he shall so advise the Contractors in writing and at the same time demand compliance in accordance with conditions of Tender notice. If the Contractor neglects to comply with such demand within seven days after receipt of such notice, it shall then or at any time thereafter, be lawful for the Engineer-in-Charge to take suitable action in accordance with Clause.60 of P.S to APSS.

### 25.3     Suspension of works by the Contractor:

25.4    If the Contractor shall suspend the works, or sublet the work without sanction of the Engineer-in-Charge, or in the opinion of the Engineer-in-Charge shall neglect or fail to proceed with due diligence in the performance of his part of the Contract as laid down in the Schedule rate of progress, or if he shall continue to default or repeat such default in the respects mentioned in clause.27 of the APSS Engineer-in-Charge shall take action in accordance with Clause 61 of APSS.

25.5  If the Contractor stops work for 28 days and the Stoppage has not been authorized by the Engineer-in-Charge the Contract will be terminated under Clause 61 of APSS.

25.6  If the Contractor has delayed the completion of works the Contract will be terminated under Clause.61 of APSS.

### 25.7.   Extension of the Intended Completion Date:

25.7  The Engineer-in-Charge shall extend or recommend for extension, in accordance with the Government orders in force, the Intended Completion Date if a Variation is issued which makes it impossible for Completion to be achieved by the Intended Completion Date.

25.8  The Engineer-in-Charge shall decide whether and by how much to extend the Intended Completion Date within 21 days of the Contractor asking the Engineer for a decision upon the effect of a Variation and submitting full supporting information. If the Contractor has failed to give early warning of a delay or has failed to cooperate in dealing with a delay, the delay by this failure shall not be considered in assessing the new Intended Completion Date.

### 25.9   Delays Ordered by the Engineer-in-Charge:

25.10 The Engineer-in-Charge may instruct the Contractor to delay the start or progress of any activity within the Work.

### 26.       Early Warning:

26.1  The contractor is to warn the Engineer-in-Charge at the earliest opportunity of specific likely future events or circumstances that may adversely affect the Execution of Works. The Contractor shall cooperate with the Engineer-in-Charge in making and considering proposals for how the effect of such an event or circumstance can be avoided or reduced by anyone involved in the work and in carrying out any resulting instruction of the Engineer-in-Charge.

### 27.       Management Meetings:

27.1    The Engineer-in-Charge may require the Contractor to attend a management meeting. The business of a management meeting shall be to review the programme for remaining work and to deal with matters raised in accordance with the early warning procedure.

- QUALITY CONTROL

### 28.          Identifying Defects:

28.1 The Engineer-in-Charge shall check the Contractor’s work and notify the Contractor of any Defects that are found. Such checking shall not affect the Contractor’s responsibilities. The Engineer-in-Charge may instruct the Contractor to verify the Defect and to uncover and test any work that the Engineer considers may be a Defect.

### 28.2     Tests:

28.3   If necessary the TTD reserves the right to opt for any further quality tests of non-destructive or destructive methods to confirm the quality of the Gold malam /Jewellery work. The Contractor / Tenderer have to make good the part / parts so opted and tested. The sample number for testing will be as decided by TTD as per established norms & procedures.

### 29.     Correction of Defects:

29.1   The Asst. Executive officer (Jew)/ Engineer-in-Charge shall give notice to the Contractor of any Defects before the end of the Defects Liability Period, which begins on Completion. The defects liability period shall be extended for as long as defects remain to be corrected by the Contractor.

29.2   Every time notice of a Defect is given, the Contractor shall correct the notified defect within the length of time specified by The Asst. Executive officer (Jew) / the Engineer- in-Charge’s notice.

### 30.      Uncorrected Defects:

30.1    If the contractor has not corrected the defect within the time specified in the Engineer- in-Charge’s notice, The  Asst. Executive officer (Jew) / Engineer-in-Charge will assess the cost of having the defect corrected and the contractor will pay this amount.

30.2    The Asst. Executive officer (Jew) / Engineer-in-Charge shall introduce O.K. cards and prescribed the formats there of. O.K. cards shall relate to all major components of the work.   The contractor / his authorised representative shall be required to initiate and fill in and present the O.K. card to the staff who would check the respective items and send to the quality control staff for final check and clearance / O.K. Any defects pointed out by the supervision staff or by the Quality Control staff shall promptly be attended to by the contractors and the fact of doing so be duly recorded on the back of O.K. card.

30.2    The Asst. Executive officer (Jew) / The Engineer-in-Charge may also introduce checklists, which shall be kept in Bound registers by the supervision staff. The contractor may be required to fill up these lists in the first instance and shall be subsequently checked by the execution / Quality Control staff.

### 31.      Quality Control:

In addition to the normal inspection by the regular staff in-charge of the work, the work will also be inspected by the Asst. Executive officer (Jew) / Executive Engineer Quality control staff and any other authorized external Agency if any sub-standard work or excess payments are noticed with reference to measurement books etc., during inspection, action will be taken based on their observations and these will be effected by The Asst. Executive officer (Jew) / the Engineer-in-Charge of the execution of the work.

### Cost Control

32.     Bill of Quantities:

32.1   The Bill Quantities shall contain items for the construction work to be done by the Contractor.

32.2   The Contractor is paid for the quantity of the work done at the rates in the Bill of Quantities for each item as per the agreement.

### 33.       Changes in the Quantities:

TTD Right to vary quantities: TTD will have the right to increase or decrease up to 25% of the quantity of goods and services specified in the tender without any change in the unit price or other terms and conditions at the time of award of contract or during the execution as per the requirement.

### 34.       Cash flow forecasts:

34.1   When the program is updated, the contractor is to provide the Engineer-in-charge with an updated  cash flow forecast.

### 35.       Payment Certificates:

35.1.   The Contractor shall submit to the AEO(Jew)/the Engineer-in-charge monthly statements of the estimated value of the work completed less the cumulative amount certified previously.

35.2    The Asst. Executive officer (Jew) / The Engineer-in-charge shall check the Contractor’s monthly statement and arrange payment within 7 days.

35.3   The value of work executed shall be determined by The Asst. Executive officer (Jew) /

the Engineer-in-charge.

35.4    The value of work executed shall comprise the value of the quantities of the items in the Bill of Quantities completed.

35.5   The Asst. Executive officer (Jew) / The Engineer-in-charge may exclude any item certified in a previous certificate or reduce the proportion of any item previously certified in any certificate in the light of later information.

### 36.     Quality certificate &Payments:

a.   If necessary the TTD reserves the right to opt for any further quality tests of non-destructive or destructive methods to confirm the quality of the Gold malam/Jewellery work. The Contractor / Tenderer have to make good the part / parts so opted and tested. The sample number for testing will be as decided by TTD as per established norms & procedures.

36.1.  On satisfactory completion and delivery of the finished articles, Payment will be released within 15 days. The payments are made by TTD through ECS (i.e RTGS/ NEFT) only.

36.2   The standard payment terms of TTD are applicable and all statutory deductions applicable at the time shall be made from the payment. No advance will be paid against the order and agreed rates will be valid during the currency of the contract and extended period if any. The renewal of contract if required will be based on evaluation by TTD and the agreed rates shall continue till completion of contract. The payments are made by TTD through RTGS / NEFT only and it is to specifically ensure that all payments to personal shall be made by the agency only through Bank Accounts.

36.3    Documents required for payment: (1) Claim/Bill of cost (2) Advance Stamped Receipt.

(3) Acknowledgement of handing over of Articles to the Assistant Executive Officer (Jewellery) T.T.D., Tirupati. The above document required is not exhaustive and it is to be specifically noted that without the above documents, the bills of the agency shall not be processed by TTD

36.4.   Payments and Certificates:

36.4.1 Payment will be made to the Contractor under the certificate to be issued at reasonably frequent intervals by the Asst. Executive officer (Jew) / Engineer-in- Charge, and intermediate payment will be the sum equal to 92½% of the value of work done as so certified and balance of 7½% will be withheld and retained as security for the due fulfillment of the contractor under the certificate to be issued by the Engineer-in-Charge. On completion of the entire works the contractor will receive the final payment of all the moneys due or payable to him under or by virtue of the contract except earnest money deposit retained as security and a sum equal to 2½ percent of the total value of the work done. The amount withheld from the final bill will be retained under deposits and paid to the contractor together with the earnest money deposit retained as security after a period of 12 months as all defects shall have been made good according to the true intent and meaning thereof.

36.4.2  In case of over payments or wrong payment if any made to the contractor due to wrong interpretation of the provisions of the contract, APSS or Contract conditions etc., such unauthorized payment will be deducted in the subsequent bills or final bill for the work or from the bills under any other contracts with the T.T.Devasthanams / Government or at any time thereafter from the deposits available with the Government/T.T. Devasthanams.

36.4.2   Any recovery or recoveries advised by the Government Department either state or central, due to non-fulfillment of any contract entered into with them by the contractor shall be recovered from any bill or deposits of the contractor.

36.4.3   No claim shall be entertained, if the same is not represented in writing to the Asst. Executive officer (Jew) / Engineer-in-Charge within 15 days of its occurrence.

36.4.4   The contractor is not eligible for any compensation for inevitable delay in handing over the site or for any other reason. In such case, suitable extensions of time will be granted after considering the merits of the case.

37.   Intermediate Payments:

37.1      For intermediate Stage of work, only part rates as fixed by the Asst. Executive officer (Jew) / Engineer-in-Charge will be paid.

37.2     Part rates shall be worked out for the work done portion based on the actual operations involved keeping in view the value of the balance work to be done, to avoid unintended benefit to the Contractor in initial Stage.

### 38.    Interest on Money due to the Contractor:

38.1  No omission by the Executive Engineer or the sub-divisional officer to pay the amount due upon certificates shall vitiate or make void the contract, nor shall the contractor be entitled to interest upon any guarantee fund or payments in arrears, nor upon any balance which may, on the final settlement of his accounts, found to be due to him.

### 39.       Certificate of Completion of works:

39.1     Certificate of Completion of works:

40.1.1 When the whole of the work has been completed and has satisfactory passed any final test that may be prescribed by the Contract, the Contractor may give a notice to that effect to the Asst. Executive officer (Jew) / the Engineer-in-Charge accompanied by an undertaking to carry out any rectification work during the period of maintenance, such notice and undertaking shall be in writing and shall be deemed to be request by the Contractor for the Asst. Executive officer (Jew) /the Engineer-in- Charge to issue a Certificate of completion in respect of the Works. The Engineer-in- Charge shall, within twenty one days of the date of delivery of such notice either issue to the Contractor, a certificate of completion stating the date on which, in his opinion, the works were completed in accordance with the Contract or give instructions in writing to the Contractor specifying all the Works which, in the Asst. Executive officer (Jew) / the Engineer-in-Charge'’ opinion, required to be done by the Contractor before the issue of such Certificate. The Asst. Executive officer (Jew) /The Engineer-in- Charge shall also notify the Contractor of any defects in the Works affecting completion that may appear after such instructions and before completion of the Works specified there in. The Contractor shall be entitled to receive such Certificate of the Completion within twenty one days of completion to the satisfaction of the Asst. Executive officer (Jew) / the Engineer-in-Charge of the Works so specified and making good of any defects so notified.

### 40.1.1   Taxes included in the bid:

40.2   The rates quoted by the contractor shall be deemed to be inclusive of the other taxes if any, but exclusive of GST on all consumable materials that the contractor will have to purchase for performance of this contract and also labour charges.

### 40.3 Any central or state sales and other taxes on completed item of works of this contract (other than clause 100) as may be levied and paid by the contractor are to be borne by himself /herself.

40.4.  (Deleted) Price adjustment

### 46.     Retention:

46.1   The department shall retain from each payment due to the contractor @ the rate of 7.5% of bill amount until completion of the whole of the Works.

46.2  On completion of the whole of the Works, out of 7 ½ % retention amounts, 5% will be re-paid to the Contractor and remaining 2 ½ % will be released, when the Defects Liability Period has passed and the Engineer-in-Charge has certified that all the Defects notified by the Asst. Executive officer (Jew) / the Engineer-in-Charge to the Contractor before the end of this period have been corrected.

### 47.    Deleted (Liquidated Damages):

48.    Mobilization Advance:

No advance whatsoever either for mobilization of machinery and materials of the execution of work will be given under any circumstances. The tender received with such conditions will be summarily rejected.

### 49.      Securities:

49.1  The Earnest Money Deposit and Additional Security (for discount tender percentage beyond 25%) shall be provided to the Department not later than the date specified in the Letter of Acceptance and shall be issued in an amount and form and by a bank acceptable to the Department. The Earnest Money shall be valid until a date 28 days from the date of expiry of Defects Liability Period and the additional security shall be valid until a date 28 days from the date of issue of the certificate of completion.

### 50.    Cost of Repairs:

50.1  Loss or damage to the Works to the Works between the Start Date and the end of the Defects Correction Periods shall be remedied by the Contractor at the Contractor’s cost if the loss or damage arises from the Contractor’s acts or omissions.

### FINISHING THE CONTRACT

60.     Completion:

60.1  The Contractor shall request the Engineer-in-Charge to issue a Certificate of completion of the Works and the Engineer-in-Charge will do so upon deciding that the work is completed.

### 60.2    Taking Over:

60.3    The Department shall takes over the Site and the Works within seven days of the Engineer-in-Charge issuing a certificate of Completion.

### 61.     Final Account:

62.1  The Contractor shall supply to the Asst. Executive officer (Jew) / the Engineer-in- Charge a detailed account of the total amount that the Contractor considers payable under the Contract before the end of the Defects Liability Period. The Asst. Executive officer (Jew) / Engineer-in-Charge shall issue a Defects Liability Certificate and certify any final payment that is due to the Contractor within56 days of receiving the Contractor’s account if it is correct and complete. If it is not, The Asst. Executive officer (Jew) / the Engineer-in-Charge shall issue within 56 days a schedule that states the scope of the corrections or additions that are necessary.   If the final Account is still unsatisfactory after it has been resubmitted, the Asst. Executive officer (Jew) / the Engineer-in-Charge shall decide on the amount payable to the Contractor and issue a payment certificate within 56 days of receiving the Contractor’s revised account.

### 63.      Termination:

63.1    The Department may terminate the Contract if the contractor causes a fundamental breach of the  Contract.

63.2  Fundamental breaches of Contract include, but shall not be limited to the following.

- The Contractor stops work for 28 days when no stoppage of work is shown on the current program and the stoppage has not been authorised by the Asst. Executive officer (Jew) / the Engineer-in-Charge.

- The Contractor is made bankrupt or goes into liquidation other than for a reconstruction or amalgamation.

- The Asst. Executive officer (Jew) /Engineer-in-Charge gives Notice that failure to correct a particular Defect is a fundamental breach of Contract and the Contractor fails to correct it within a reasonable period of time determined by the Asst. Executive officer (Jew) / the Engineer-in-Charge; and

- The Contractor does not maintain a security which is required and

- If the contractor, in the judgment of the Department has engaged in corrupt or fraudulent practices in competing for or in the executing the contract.

For the purpose of this paragraph: “corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution. “Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Government and includes collusive practice among Tenderers (prior to or after Tender submission) designed to establish Tender prices at artificial non-competitive levels and to deprive the Government of the benefits of free and open competition.

63.3   Notwithstanding the above the Department may terminate the contract for convenience.

63.4   If the Contract is terminated, the Contractor shall stop work immediately, make the workshop safe and secured leave the workshop as soon as reasonably possible.

### 64.      Payment upon Termination:

64.1   If the Contract is terminated because of a fundamental breach of Contract by the Contractor, the Engineer-in-Charge shall issue a certificate for the value of the work done less advance payments received upon the date of the issue of the certificate, less other recoveries due in terms of the Contract, less taxes due to be deducted at source as per applicable law and less the percentage to apply to the work not completed.    Additional Liquidated Damages shall not apply. If the total amount due to the Department exceeds any payment due to the Contractor the difference shall be a debt payable to the Department.

### 65. Property:

65.1  All materials on the Site, Plant, Equipment, Temporary Works and Works are deemed to be the property of the Department if the Contract is terminated because of Contractor’s default.

### 66.    Release from Performance:

66.1.  If the Contract is frustrated by the outbreak of war or by any other event entirely outside the control of either the Department or the Contractor the Engineer-in-Charge shall certify that the contract has been frustrated. The Contractor shall make the workshop safe and stop work as quickly as possible after receiving this certificate and shall be paid for all works carried out before receiving it and for any work carried out after wards to which commitment was made.

- SPECIAL CONDITIONS

| Name of Work: | “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)” |
| --- | --- |
|  | Tirumala Tirupati Devasthanams being a religious Institution and a place of public religious worship also having sub shrines, utsavams, mandapams, tanks and other necessary appurtenant structures is desirous to have personnel only from Hindu Community. The entire work shall be carried out at Tirupati only in the workshop specified by Jewellery section, as per terms and conditions and the scope of work as specified hereunder. |
| 67. | SCOPE OF WORK FOR GOLD MALAM WORK ON DESIGNED COPPER SHEET Design of copper sheet as per the ornamental features available on “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)”. Gold malam work consisting 9 layers, conversion of gold into gold foils, cutting melting, sheeting, buffing and finishing etc., The entire work should be done in the TTD premises at Tirupati under the close supervision of TTD’s Officials, Vigilance Staff and CCTVs and as per conditions of TTD. The entire work should be completed within Three (3) months from the date of giving LOA to the utmost satisfaction of TTD and should confirm to the specifications. |
| 67.1 | The labour rates should be quoted including cost of all consumable materials and all other charges and taxes if any for complete work, but exclusive of GST. |
| 67.2 | The Copper sheet (18guage) and gold 24 Ct will be supplied by TTD. The Tenderer should make his own arrangements for other works. All materials should be accounted for by weight in the entire process. The required material except Gold, Copper sheets and Brass / Copper Screws are to be provided by the tenderer of his cost. |
| 68. | Design of Copper Work: |
| 68.1 | Copper design includes taking necessary impressions of “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)".or as per the drawings available/as directed by the department. |
| 68.2 | Designing work of copper sheets of 18 gauge by cutting, bending,braising, heating/ hammering process or other approved process so as to bend and shape the copper sheet as per the ornamental |
|  | features available on work Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam / any other design as approved by the department, during the execution. |
| 68.3 | Buffing the exposed outer face so as to carry out gold malam work on the finished copper design sheets. |
| 69. | Gold malam work: |
| 69.1 | The gold malam work consisting Nine (9) layers, which includes conversion of solid gold into gold foils, cutting melting, sheeting and finishing etc., at TTD work shop only and fixing the copper sheet after gold malam. |
| 69.2 | The gold malam process in Nine (9) layers to be adopted is as follows so as to have longer life: |
| 69.2.1 | The First Three (3) layers should be amalgamated in the Mercury process and heated. |
| 69.2.2 | Again the Second Three (3) layers should also be amalgamated (Mercury process and heating process) if necessary. |
| 69.2.3 | The Last Three (3) layers are fixed only by heating, pressing process without any application mercury. |
| 70. | The entire work shall be done suit and match to the profiles of “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)” etc., and also as per the drawings and direction of Engineer-in-Charge/AEO (Jew)/Sthapathy / Asst. Sthapathy, including materials required for making designs, polishing, as per design but excluding the cost of gold, copper sheets which are being supplied by TTD. |
| 71. | The successful tenderer should make his own arrangements to be present during weighing of the sheets for the Gold work. The Tenderer will be held responsible for any losses and such losses will be made good from him. The processing details of the work are as follows : |
| 72. | The payment will be made on the weight of finished products after requesting the claim by the contractor with required documents. No advance payment will be made. |
| 72.1 | The rates for labour charges quoted shall remain in force till the completion of the work and no enhancement of rates shall be considered under any circumstances. The tenderer /agency shall be liable to be cancelled in case of improper work against the Schedule work. |
| 72.2. | Rent free workshop space will be provided by TTD for copper and Gold malam work including water and power supply. The skilled and technical personnel required for gold malam on Copper design work to “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)”, should be arranged by the Tenderer with the skilled labourers at his cost. |
| 72.3 | The Tenderer should be prepared to arrange to take up the work to be done in the workshop where TTD provides under the supervision of a committee comprising of officials and non-officials. The tenderer should undertake to provide workmanship of the highest order and should be prepared to indemnify T.T.D. against any loss or damage due to defective work. |
| 72.4 | The designs prepared and other balance materials for this purpose should not be used elsewhere and should return to TTDs after completion of work without which the payments will not be made. Any violation/reproduction for other |

\

|  | purposes will be viewed seriously which may be even lead for taking appropriate legal action on the tenderer in the court of Law. |
| --- | --- |
| 73. | TTD reserves the right to charge penalty as decided by the Competent authority or withhold payment for any unsatisfactory service rendered by the agency without prejudice to its other rights. In this regard the decision of the department is final. The agency is further liable to reimburse/compensate the TTD or third party for any loss, damage, injury, harm etc., caused or arisen out of the negligence, rashness or any other act of its personnel employed or breach of contract. |
| 73.1. | TTD reserves the right to charge penalty as decided by the Engineer-in-charge, TTD, Tirupati or withhold payment for any unsatisfactory service rendered by the agency without prejudice to its other rights. |
| 73.2 | All prohibitory activities applicable to TTD as a whole and in sacred Tirumala Hills in particular have to be followed strictly by all. Further, it is to inform to the tenderers that under Section 114 of Act 30 of 1987 any person contravening any prohibitory orders passed in this regard shall be punishable with imprisonment, which may extend to 3 months or with fine which may extend to Rs.500 /- or with both. |

### 74.      Labour:

The contractor shall, make his own arrangements for the engagement of all staff and labour, local or other, and for their payment, housing, feeding and transport.

Labour importation and amenities to labour and contractor’s staff shall be to the contractor’s account. His quoted percentage shall include the expenditure towards importation of labour amenities to labour and staff;

The contractor shall, if required by the Asst. Executive officer (Jew) / the Engineer-in- Charge, deliver to the Asst. Executive officer (Jew) / the Engineer-in-Charge a written in detail, is such form and at such intervals as the Asst. Executive officer (Jew) / the Engineer-in-Charge may prescribe, showing the staff and the numbers of the several classes of labour from time to time employed by the contractor on the Site and such information respecting Contractor’s Equipment as the Asst. Executive officer (Jew) / the Engineer-in-Charge may require.

Transportation of Labour:

The contractor shall make his own arrangement for the daily transportation of the labour and staff from labour camps colonies to the work spot and no labour or staff of the contractor shall stay at the work spot. No extra payment will be made to the contractor for the above transportation of the labour and his quoted percentage to the work shall include the transportation charges of labour from colonies to work spot and back.

The contractor will at all times duly observe the provisions of employment of children Act XXVI of 1938 and any enactment or modification of the same and will not employ or permit any person to do any work for the purpose under the provisions of this agreement in contravention of said Act. The contractor here by agrees to indemnify

the department from and against all claims, penalties which may be suffered by the department or any person employed by the department by any default on the part of the contractor in the observance and performance of the provisions of the employment of children Act. XXVI of 1938 or any enactment or modification of the same.

As per Govt. memo No.721/Gr.(1)/81-35, dt:17.11.87. The contractor shall obtain the insurance at his own cost to cover the risk on the works to labour engaged by him during period of execution against fire and other usual risks and produce the same to the Executive Engineer concerned before commencement of work.

### 75       Safety Measures:

- The contractor shall take necessary precautions for safety of the workers and preserving their health while working in such jobs, which require special protection and precautions. The following are some of the measures listed but they are not exhaustive and contractor shall add to and augment these precautions on his own initiative where necessary and shall comply with directions issued by the Executive Engineer or on his behalf from time to time and at all times.

- Providing protective foot wear to workers situations like mixing and placing of mortar or concrete sand in quarries and places where the work is done under much wet conditions.

- Providing protective head wear to workers at places like underground excavations to protect them against rock falls.

- Providing masks to workers at granulates or at other locations where too much fine dust is floating about and sprinkling water at frequent intervals by water hoses on all stone crushing area and storage bins abate to dust.

- Getting the workers in such jobs periodically examined for chest trouble due to too much breathing in to fine dust.

- Taking such normal precautions like fencing and lightening in excavation of trenches, not allowing rolls and metal parts of useless timber spread around, making danger areas for blasting providing whistles etc.

- Supply work men with proper belts, ropes etc., when working in precarious slopes etc.

- Avoiding named electrical wire etc., as they would electrocute the works.

- Taking necessary steps towards training the workers concerned on the machinery before they are allowed to handle them independently and taking all necessary precautions in around the areas where machines hoists and similar units are working.

### 76    Fair Wage Clause:

- The contractor shall pay not less than fair wages to laborers engaged by him on the work.

- “Fair” wages means wages whether for time of piecework notified by the Government from time in the area in which the work is situated.

- The contractor shall not with-standing the revisions of any contract to the contrary cause to be paid to the labour, in directly engaged on the work including any labour engaged by the sub-contractor in connection with the said work, as if the labourers had been directly employed by him.

- In respect of labour directly or indirectly employed in the works for the purpose of the contractors part of the agreement the contractor shall comply with the rules and regulations on the maintenance of suitable records prescribed for this purpose from time to time by the Government. He shall maintain his accounts and vouchers on the payment of wages to the labourers to the satisfaction of the Executive Engineer.

- The Executive Engineer shall have the right to call for such record as required to satisfy himself on the payment of fair wages to the labourers and shall have the right to deduct from the contract amount a suitable amount for making good the loss suffered by the worker or workers by reason of the “fair wages” clause to the workers.

- The contractor shall be primarily liable for all payments to be made and for the observance of the regulations framed by the Govt. from time to time without prejudice to his right to claim indemnity from his sub-contractors.

- As per contract labour (Regulation and abolition) Act. 1970 the contractor has to produce the license obtained from the licensing officers of the labour department along with the tender or at the time of agreement.

- Any violation of the conditions above shall be deemed to be a breach of his contract.

- Equal wages are to be paid for both men and women if the nature of work is same and similar.

- The contractor shall arrange for the recruitment of skilled and unskilled labour local and imported to the extent necessary to complete the work within the agreed period as directed by the Executive Engineer in writing.

77            Indemnity Bond:

Name of work: “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)”

Contractor S/o.		Aged 	 Resident of	do hereby bind myself to pay all the claims may come (a) under Workmen’s Compensation Act. 1933 with any statutory modification thereof and rules there under or otherwise for or in respect of any damage or compensation payable in connection with any accident or injury sustained (b) under Minimum wages Act 1948 (c) under payment of wages Act.1936 (d) under the Contractor labour (Regulation and Abolition) Act. 1970 by workmen engaged for the performance of the business relating to the above contract i.e., Failing such payment of claims of workmen engaged in the above work, I abide in accepting for the recovery of such claims, effected from any of my assets with the departments.

### 78       Compliance With Labour Regulations:

During continuance of the contract, the contractor and his sub-contractors shall abide at all times by all existing labour enactments and rules made there under, regulations, notifications and bye laws of the State or Central Government or local authority and any other labour law (including rules), regulations, bye laws that may be passed or

notifications that may be issued under any labour law in future either by the State or the Central Government or the local authority and also applicable labour regulations, health and sanitary arrangements for workmen, insurance and other benefits. Salient features of some of the major labour laws that are applicable to construction industry are given below. The contractor shall keep the Department indemnified in case any action is taken against Department by the competent authority on account of contravention of any of the provisions of any Act or rules made thereunder, regulations or notifications including amendments. If the Department is caused to pay or reimburse, such amounts as may be necessary to cause or observe, or for non- observance of the provision stipulated in the notifications/bye laws/Acts/Rules/regulations including amendments, if any, on the part of the contractor, the Engineer-in-charge /Department shall have the right to deduct any money due to the contractor including his amount of performance security. The Department/Engineer-in-Charge shall also have right to recover from the contractor any sum required or estimated to be required for making good the loss or damage suffered by the Department.

The employees of the Contractor and the Sub-contractor in no case shall be treated as the Department of the Department at any point of time.

### 79     Salient features of some major labour laws applicable to establishment engaged in buildings and other construction work:

- Workmen compensation Act 1923: The Act provides for compensation in case if injury by accident arising out of and during the course of employment.

- Payment of Gratuity Act 1972: Gratuity is payable to an employee under the Act on satisfaction of certain conditions on separation if any employee has completed 5 years service or more, or on death, the rate of 15 days wages for every completed year of service. The Act is applicable to all establishments, employing 10 or more employees.

- Maternity Benefit Act 1951: The Act provides for leave and some other benefits to women employees in case of confinements or miscarriage etc.

- Contract Labour (Regulation & Abolition) Act 1970: The Act provides for certain welfare measures to be provided by the contractor to contract labour and in case the Contractor fails to provide, the same are required to be provided by the Principal Department by Law. The Principal Department is required to take certificate of Registration and the contractor is required to take license from the designated Officer. The Act is applicable to the establishments or Contractor of Principal Department if they employ 20 or more contract labour.

- Minimum wages Act 1948: The Department is supposed to pay not less than the Minimum wages fixed by appropriate Government as per provisions of the Act if the employment is a scheduled employment construction of Buildings, Roads, Runways are scheduled employments.

- Payment of wages Act 1936: It lays down as to by what date the wages are to be paid, when it will be paid and what deductions can be made from the wages of the workers.

- Equal Remuneration Act 1979:   The Act provides for payment of equal wages for work of equal nature to Male or Female workers and for not making discrimination against Female employee in the matters of transfers, training and promotions etc.

- Payment of Bonus Act 1965: The Act Is applicable to all establishments employing 20 or more employees. The Act provides for payment of annual bonus subject to a minimum of 8.33% of wages and maximum of 20% of wages to employees drawing Rs. 3500/- per month or less. The bonus to be paid to employees getting Rs.2500/- per months or above and up to Rs.3500/- per month shall be worked out by taking wages as Rs.2500/- per monthly only. The Act does not apply to certain establishments. The newly set-up establishments are exempted for five years in certain circumstances. Some of the State Governments have reduced the employment size from 20 to 10 for the purpose of applicability of this Act.

(j) Industrial Disputes Act 1947: The Act lays down the machinery and procedure for resolution of Industrial disputes, in what situations a strike or lock- out becomes illegal and what are the requirements for laying off or retrenching the employees or closing down the establishment.

- Industrial Employment (Standing Orders) Act 1946: It is applicable to all establishments employing 100 or more workmen (employment size reduced by some of the State and Central Government to 50). The Act provides for laying down rules governing the conditions of employment by the Department on matters provided in the Act and get the same certified by the designated Authority.

- Trade Unions Act 1926: The Act lays down the procedure for registration of trade unions of workmen and Departments. The Trade Unions registered under the act have been given certain immunities from civil and criminal liabilities.

- Child Labour (Prohibition & Regulation) Act 1986: The Act prohibits employment of children below 14 years of age in certain occupations and processes and provides for regulation of employment of children in all other occupations and processes, Employment Child Labour is prohibited in Building and Construction Industry.

- Inter-State Migrant workmen’s (Regulation of Employment & Conditions of service) Act 1979: The Act applicable to an establishment, which employs 5 or more inter- state migrant workmen through an intermediary (who has recruited workmen in one state for employment in the establishment situated in another State). The inter State migrant workmen, in an establishment to which this Act becomes applicable, are required to be provided certain facilities such as housing, medical aid, traveling expenses from home upto the establishment and back, etc.

- The Building and Other Construction workers (regulation of Employment and conditions of service) Act 1996 and the Cess Act of 1996: All the establishments who carryon any building or other construction work and employs 10 or more workers are covered under this Act. All such establishments are required to pay cess at the rate not exceeding 2% of the cost of construction as may be modified by the Government. The Department of the establishment is required to provide safety measures at the Building or construction work and other welfare measures, such as Canteens, First- aid facilities, Ambulance, Housing accommodations for workers near the work place etc. The Department to whom the Act applies has to obtain a registration certificate from the Registering Officer appointed by the Government.

- Factories Act 1948: The Act lays down the procedure for approval of plans before setting up a factory, health and safety provisions, welfare provisions, working hours, annual earned leave and rendering information regarding accidents or dangerous occurrences to designated authorities. It is applicable to premises employing 10 person or more with aid of power or 20 or more persons without the aid of power engaged in manufacturing process.

### 80.        Liabilities of the Contractor:

80.1      Accident Relief and workmen compensation:

The contractor should make all necessary arrangements for the safety of workmen on the occurrence of the accident, which results in the injury or death of any of the workmen employed by the contractor, the contractor shall within 24 hours of the happenings of the accident and such accidents should intimate in writing to the concerned Asst. Engineer / Asst. Executive officer of the Department the act of such accident. The contractor shall indemnify Government against all loss or damage sustained by the Government resulting directly or indirectly from his failure to give intimation in the manner aforesaid including the penalties or fines if any payable by Govt. as a consequence of Govt. failure to give notice under workmen’s compensation Act or otherwise conform to the provisions of the said Act. In regard to such accident.

80.2      In the event of an accident in respect of which compensation may become payable under the workmen’s compensation Act VIII 23 whether by the contractor, by the Government it shall be lawful for the Executive Engineer to retain such sum of money which may in the opinion of the Asst. Executive officer (Jew) / the Executive Engineer be sufficient to meet such liability. The opinion of tthe Asst. Executive officer (Jew) / he Executive Engineer shall be final in regard to all matters arising under this clause.

80.3    The contractor shall at all times indemnify the T.T.D. against all claims which may be made under the workmen’s compensation act or any statutory modification thereafter or rules there under or otherwise consequent of any damage or compensation payable in consequent of any accident or injuries sustained or

death of any workmen engaged in the performance of the business relating to the contractor.

### 81.       Contractor’s Staff, Representatives and Labour:

- The contractor shall, at all times, maintain on the works, staff of qualified Engineers, and Supervisors of sufficient experience of similar other jobs to assure that the quality of work turned out shall be as intended in the specifications. The contractor shall also maintain at the works, a Work Manager or sufficient status, experience and office and duly authorise him to deal with all aspects of the day-today work. All communications to any commitments by the Work Manager shall be considered as binding on the Contractor.

- The Contractor shall at all times submit details of skilled and unskilled labour and equipment employed to the Engineer-in-Charge in prescribed proforma as he may require to assess and ensure the proper progress of work.

- For the work costing more than 10.00 Lakhs, if the contractor does not employ the technical person agreed to on the work a fine of Rs. 25, 000/- will be imposed. If he does not employ for 30 days, thereafter it becomes a fundamental breach of contract.

### 82.       Accommodation and food:

The contractor should arrange accommodation he needs, at his own cost. The contractor shall make his own arrangements for supply of food grains, fuel and other provision to his staff and labourers including controlled commodities.

### 83         Relationship:

Contractor shall have to furnish information along with tender, about the relationship he is having with any officer of the Department, Government of Andhra Pradesh of the rank Assistant Engineer and above engaged in the work and any officer of the rank of Assistant Secretary and above of the Department of Government of Andhra Pradesh.

### 84        Protection of adjoining premises:

The contractor shall protect adjoining sites against structural, decorative and other damages that could be caused by the execution of these works and make good at his cost any such damages.

### 85        Work during night or on Sundays and holidays:

The works can be allowed to be carried out during night, Sundays or authorized holidays in order to enable him to meet the schedule targets and the work shall require almost round the clock working keeping in view:

- The provisions of relevant labour laws being adhered to:

- Adequate lighting, supervision and safety measures are established to the satisfaction of the Engineer-in-Charge and

- The construction programme given by the Contractor and agreed upon by the Engineer-in-Charge envisages such night working or working during Sundays or authorised holidays.

### 86        Layout of materials stacks:

The contractor shall deposit materials for the purpose of the work on such parts only of the ground as may be approved by the Engineer-in-Charge before starting work. A detailed survey, clearly indicating position and areas where materials shall be stacked and sheds built is to be conducted by the contractor at his own cost and only after obtaining necessary approval of the plan for use of sites by the Engineer-in-Charge, the Contractor can use the sites accordingly.

### 87        Use of blasting materials: (Prohibited for this work )

Procurement of blasting materials and its storage Prohibited. Use or procurement of blasting materials is held responsibility of the contractor. The contractor shall engage licensed blaster for blasting operation. The contractor is to act in accordance with Indian Explosive Act and other rules prevailing, during the execution of work. It is the responsibility of the contractor to see, that works by other agencies in the vicinity are not hampered, in such cases if any claim is made by other agencies that should be borne by the contractor.   Carriage of blasting materials, from the magazine to the work site, is the responsibility of the contractor.

### 88       Plant and Equipment:

88.1   The contractor shall have sufficient plant, equipment and labour and shall work such hours and shifts as may be necessary to maintain the progress on the work as per the approval progress schedule. The working and shifts hours shall comply with the Govt. Regulations in force.

88.2   It is to expressly and clearly understand that contractor shall make his own arrangements to equip himself with all machinery and special tools and plant for the

speedy and proper execution of the work and the department does not undertake responsibility towards their supply.

88.3  The department shall supply such of the machinery that may be available on hire basis but their supply cannot be demanded as matter of right and no delay in progress can be attributed to such non-supply of the plant by the department and the department cannot be made liable for any damage to the contractor. The Contractor shall be responsible for safe custody of the departmental machinery supplied to him (which will be delivered to contractor at the machinery yard at site of work) and he has to make good all damages and losses if any other than fire, wear and tear to bring it to the conditions that existed at the time of issue to the contractor before handing over the same to the department. The hire charges for the machinery handed over to the contractor will be recovered at the rate prevalent at the time of supply. The contractor will have to execute supplemental agreement with Executive Engineer at the time of supply of the machinery.

88.4 The acceptance of departmental machinery on hire is optional to the contractor.

### 89.    Inconvenience to public:

The contractor shall not deposit materials at any site, which will cause inconvenience to public. The Engineer-in-Charge may direct the contractor to remove such materials or may undertake the job at the cost of the contractor.

### 90.     Conflict of interest:

Any bribe, commission, gift or advantage given, promised or offered by on behalf of contractor or his partner, agent or servant or any one on his behalf to any officer, servant, representatives, agents of Engineer-in-Charge, or any persons on their behalf, in relation to the obtaining or to execution of this, or any other contract with Engineer-in-Charge shall in addition to any criminal liability, which it may occur, subject to the cancellation of this or all other contracts and also to payment of any loss or damage resulting from any such cancellation. Engineer-in-Charge shall then be entitled to deduct the amount, so payable from any money, otherwise due to the contractor under this or any other contract.

### 91.      Contract documents and materials to be treated as confidential:

All documents, correspondences, decisions and orders, concerning the contract shall be considered as confidential and/or restricted in nature by the contractor and he shall not divulge or allow access to them by any unauthorized person.

### 92.     General obligations of Contractor:

92.1.  The contractor shall, subject to the provision of the contract and with due care and diligence, execute and maintain the works in accordance with specifications and drawings.

92.2.   The contractor shall promptly inform the Department and the Engineer-in-Charge of any error, omission, fault and the defect in the design or specifications for the works which are discovered when reviewing the contract documents or in the process of execution of the works.

92.3.     If Contractor believes that a decision taken by the AEO (Jew) / the Engineer-in- Charge was either outside the authority given to the AEO (Jew) / the Engineer-in- Charge by the Contract or that the decision was wrongly taken, the decision shall be referred to the technical expert within 14 days of the notification of the AEO (Jew) / the Engineer-in-Charge’s decisions.

92.4.  Pending finalization of disputes, the contractor shall proceed with execution of work with all due diligence.

### 93.  Security measures:

- Security requirements for the work shall be in accordance with the Government’s general requirements including provisions of this clause and the Contractor shall conform to such requirements and shall be held responsible for the actions of all his staff, employees and the staff and employees of his sub-contractors.

- All contractors’ employees, representatives and sub-contractor’s employees shall wear identifications badges provided by the contractor. Badges shall identify the contractor, showing and employee’s number and shall be worn at all times while at the site. Individual labour will not be required to wear identification badges.

- All vehicles used by the contractor shall be clearly marked with contractor’s name.

- The contractor shall be responsible for the security of the works for the duration of the contract and shall provide and maintain continuously adequate security personnel to fulfill these obligations. The requirements of security measures shall include, but not limited to maintenance of order on the site, provision of all lighting, fencing, guard flagmen and all other measures necessary for the protection of the works within the colonies, camps and elsewhere on the site, all materials delivered to the site, all persons employed in connection with the works continuously throughout working and non-working period including nights, Sundays and holidays for duration of the contract.

- Other contractors working on the site concurrently with the contractor will provide security for their own plant and materials. However, their security provisions shall in no way relieve the contractor of his responsibilities in this respect

- Separate payment will not be made for provision of security services.

### 94.     Fire fighting measures:

- The contractor shall provide and maintain adequate firefighting equipment and take adequate fire precaution measures for the safety of all personnel and temporary and permanent works and shall take action to prevent damage to destruction by fire of trees shrubs and grasses.

- Separate payment will not be made for the provision of fire prevention measures.

### 95.      (Deleted)Sanitation:

96.     Training of personnel:

The contractor, shall, if and as directed by the Engineer-in-Charge provide free of any charge adequate facilities, for vocational training of Government Officers, students, Engineers, supervisors, foremen, skilled workmen etc. not exceeding six in number at any one time on the contractor’s work.   Their salaries, allowances etc. will be borne by the Government and the training schemes will be drawn up by the Engineer-in- Charge in consultation with the contractor.

### 97.     Deleted (Ecological balance :)

98.     Deleted (Preservation of existing vegetation :)

### 99.    Possession prior to completion:

The Engineer-in-charge shall have the right to take possession of or use any completed part of work or works or any part thereof under construction either temporarily or permanently. Such possession or use shall not be deemed as an acceptance of any work either completed or not completed in accordance with the contract with in the interest of Clause 28 of APSS except where expressly otherwise specified by the Engineer-in-charge.

### 100.    Payment upon termination:

If the contract is terminated because of a fundamental breach of contract by the contractor, the Engineer-in-Charge shall issue a certificate for the value of the work done less advance payment received upon the date of the issue of the certificate and less the percentage to apply to the work not completed as indicated in the contract data. Additional liquidated damages shall not apply. If the total amount due to the Department exceeds any payment due to the contractor the difference shall be a debt payable to the Department. In case of default for payment within 28 days from the date of issue of notice to the above effect, the contractor shall be liable to pay interest at 12% per annum for the period of delay.

### 101.    Access to the contractor’s books:

Whenever it is considered necessary by the AEO (Jew) / the Engineer-in-Charge to ascertain the actual cost of execution of any particular extra item of work or supply of the plant or material on which advance is to be made or of extra items or claims, he shall direct the contractor to produce the relevant documents such as payrolls, records of personnel, invoices of materials and any or all data relevant to the item or necessary to determine its cost etc. and the contractor shall when so required furnish all information pertaining to the aforesaid items in the mode and manner that may be specified by the Engineer-in-Charge.

### 101.2.    Drawing to be kept at site:

One copy of the drawings if furnished to the contractor shall be kept by the contractor at work shop and the same shall at all reasonable time be available for inspection and use by the Engineer-in-Charge and the Engineer-in-Charge’s representative and by any other persons authorized by the Engineer-in-Charge in writing.

### 101.3.   B.I.S. [I.S.I.] books and APSS to be kept at site:

A complete set of Indian Standard specification referred to in “Technical Specifications” and A.P.S.S. shall be kept at site for reference.

### 101.4.  Site Order Book:

An order book shall be kept at the site of the work. As far as possible, all orders regarding the work are to be entered in this book. All entries shall be signed and dated by the Department Officer in direct charge of the work and by the contractor or by his representative. In important cases, the Executive Engineer or the Superintending Engineer will countersign the entries, which have been made. The order book shall not be removed from the work, except with the written permission of the Executive Engineer.

### 101.5. Deleted (Variations by way of modification, omissions or additions :)

101.6. Income tax:

- During the currency of the contract deduction of income tax at 2.00% + Surcharge as in force shall be made from the gross value of each bill of the contract, the contract value of which is in excess of Rs.20, 000/- for deduction of tax at rates lower than 2.00% procedure stipulated under section 194-C(4) of Income Tax Act, 1961 shall be followed.

- Income Tax clearance certificate should be furnished before the payment of final bill. Otherwise final payment will be withheld.

- The contractor’s staff, personnel and labour will be liable to pay personnel income taxes in respect of their salaries and wages as are chargeable under the laws and regulations for the time being in force, and the contractor shall perform such duties in regard to such deductions thereof as may be imposed on him by such laws and regulations.

### 102.    GST, BOCW CESS/Labour Cess.

102.1.   GST as applicable will be paid as per prevailing rules.

102.2.   The rates included in BOQ (Schedule-A) are exclusive of GST, unless otherwise specified.

102.3.  The percentage quoted by the contractor is exclusive of Goods and Service tax (GST) but inclusive of other taxes on all materials that the contractor will have to purchase for performance of this contract.

102.4.  The contractor must have registration number with the GST authorities and shall provide copy of registration to TTD and the applicable GST shall be paid by the contractor to the department concerned.

102.5. The contractor will submit regular invoice/bill fulfilling all conditions of GST amended from time to time clearly indicating GST registration number, GST classification, rate and amount of GST for each part bill and final bill.

102.6. The bidders are requested to ascertain themselves regarding the applicability of GST and the prevailing rates thereof, while tendering and more so while making the payment of GST to the department. In this regard, TTD will not undertake any responsibility whatsoever in this regard.

102.7. The tenderer should give the details of abatements/deductions, input credits available if any, as per GST rules (under which the respective service is covered) specifically while claiming the GST amount from TTD.

102.8. It is the responsibility of the tenderer to pay the applicable GST in time and TTD will not be responsible in the regard. Any delay in payment to GST by the tenderer for whatsoever reasons, the responsibility lies on the tenderer and any penalties, interest levied in this regard shall be borne by the tenderer only and such penalties, interest will not be paid by TTD. Even, if the tenderer pays any extra amount towards GST than the applicable GST, the payment from TTD will be limited to the applicable GST only.

102.9. All the rules as per GST ACT2017 and its amendments and all government orders (GOs) issued from time to   time by the Govt. of India (GOI) and Govt. of Andhra Pradesh with regard to GST are applicable.

102.10. Deleted (Construction workers welfare cess).

### 103. Supply of Consumable materials required for the work:

i)   The contractor has to make his own arrangements for procurements, supply and use of all consumable materials required for the copper design and gold malam work ( Except 24 Ct gold, and 18 gauge copper sheet required for the work which will be supplied by the TTD) .

104.  The tenderer should work out his rates without reference being made to the Public Works Department current schedule of rates, etc.

105.    The TTD reserves the right to engage the services of the consultants (eg: Jewellery advisors, Agama Archakas/Jeeyangars, etc.) during the course of the work, for suggestions/ other services and the contractor is bound to carry out such instructions as may be given by consultants from time to time.

106.    Preliminary specifications of APSS shall apply to all agreements entered by the contractor with an inseparable condition of the contract. The tenderer is expected to examine closely the relevant specifications of the APSS and the special specifications of ISS before submitting the unit tender rates.

107.   All the items of work including materials and workmanship should be executed as per relevant A.P.D.S.S. and I.S.I. code. If there are any variation between the above two specifications, the decision of the Executive Engineer is final and binding on the contract.

108.    PATENT RIGHT: In the event of any claim or demand being made or action being brought against the TTD for infringement of letter of patent, registration for infringement of design or trade mark in respect of any machines, plant, work materials or things or method of using or working of such machine, plant work materials or things belonging to the contractor shall indemnify the owner against all costs and expenses arising from or incurred by reason of any such claim provided that the owner shall notify the contractor immediately any claim is made and that the contractor shall be at liberty, if he so desires with the assistance of the owner if required but at the contractor’s expenses, to conduct all negotiations for the settlement of same or any litigation that may arise there from and provided that no such machine, plant, works materials or things shall be used by the owner for any purpose or any manner other than that for which they have been supplied by the contractor and specified under his contract.

109.  ASSISTANCE IN PROCUREMENT OF PROPERTIES, PERMITS, LICENCES OR OTHER FACILITIES ETC:

110.     The Engineer in charge of work on request by the contractor will if in his opinion the request is reasonable and is in the interest of the work and its progress assists the contractor in procurement of necessary licenses for obtaining necessary plant machinery or materials not available locally.

111.   The TTD will also assist the contractor in securing priorities for deliveries transport etc., where such are needed. The TTD will not however be responsible for the non- availability of any of the above facilities or delay in this behalf and for claims either in cost or time on account of such failures or delays and the contractor is not entitled for any claim against the owner.

112.     In case of contradiction between the clauses included in this specification and the clauses of PS to APSS, the former will prevail over the latter and is binding on the tenderer.

DRAWINGS

  - The plans enclosed with the tender are liable to the altered during execution of work as per necessity of site conditions. The rates quoted by the contractor for various items shall hold good for execution of work even with altered plans.

  - One set of drawings, on the basis of which actual execution of the work is to proceed shall be furnished free of cost to the contractor by the Superintending Engineer / Executive Engineer progressively according to the work program submitted by the contractor and accepted by the Superintending Engineer / Executive Engineer. Drawings for any particular activity shall be issued to the contractor at least 30 days in advance of the scheduled date of the start of the activity. However, no extra claims by the contractor toward any delay in issue of drawing or issue of any revision / change to the drawings issued earlier shall be admissible. The Superintending Engineer shall intimate the contractor 7 days in advance regarding any delay to issue of drawings, for any particular stage of works. If work gets effected due to delay to issue of drawings, for any particular stage of work the contractor shall be granted extension of time in terms of condition of the contract.

  - Signed drawings above shall not be deemed to be an order for work unless they entered in the agreement or schedule of drawings under proper alterations of the contractor and Executive Engineer or unless they have been sent of the contractor by the Executive Engineer with a covering letter confirming that the drawing in and authority for work in contract.

### DISCREPANCIES:

  - In case of discrepancies between documents the following order of procedure shall apply:-

    - Between the written description of written dimensions in the drawings and the corresponding one in the specifications, the latter shall apply.

    - Figured dimensions shall supersede scaled dimensions. The drawings on a larger scale shall take precedence over those on a smaller scale.

    - Drawings issued as construction drawings from time to time shall supersede tender drawings and also the correspondence drawings previously issued.

### SECRECY CLAUSE:

The drawings and specifications made available to the tenderer shall exclusively be used on the work and they are retained from passing on each plan to any unauthorized hand either in parts or in full under the provisions of Section-3 and 5 of the official secrets Act 1923. Any violation in this regard will entail suitable action under appropriate clause or official secret Act 1923.

### PROFORMA

BANK GUARANTEE FOR TOTAL “E.M.D.”

(name & address of Department)

WHEREAS

(name and address of Contractor) (hereinafter called “the Contractor”) has undertaken, in pursuance of Contract No.  	to execute the work of	[name of work];dated:

AND WHEREAS it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a Schedule bank for the sum specified therein as balance EMD / EMD for compliance with his obligations in accordance with the Contract;

AND WHEREAS we have agreed to give the Contractor such a Bank Guarantee;

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Contractor, up to a total of		[amount of guarantee]	[in words], such sum being payable and we undertake to pay you, upon your first written demand and without cavil or argument,

any sum or sums within the limits of	[amount of guarantee] as

aforesaid without your needing to prove or to show grounds or reasons for your demand for

the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the Contractor before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed there under or of any of the contract documents which may be made between you and the Contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid upto ……………………….. i.e., until 28 days from the date of expiry of the Defects Liability period.

Signature & seal of the Guarantor

Name of Bank 		                               Address		 Date

### PROFORMA

BANK GUARANTEE FOR ADDITIONAL FURTHER SECURITY

(name	and	address	of Department) WHEREAS		(name and address of Contractor) (hereinafter called “the Contractor”) has undertaken, in pursuance of Contract No.  	 dated:	to execute		[name of Contract and brief description of works] (hereinafter called “the Contractor”);

AND WHEREAS it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a Schedule bank for the sum specified therein as Additional further security bank guarantee for compliance with his obligations in accordance with the Contract;

AND WHEREAS we have agreed to give the Contractor such a Bank Guarantee;

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Contractor, up to a total of Rs.	[amount of guarantee]	[in words], such sum being payable and we undertake to pay you, upon your first written demand and without cavil or argument,

any sum or sums within the limits of	[amount of guarantee] as

aforesaid without your needing to prove or to show grounds or reasons for your demand for

the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the Contractor before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed thereunder or of any of the contract documents which may be made between you and the Contractor shall in any way release us from any liability under this guarantee, and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid upto and until 28 days from the date completion.

Signature & seal of the Guarantor

Name of Bank 	  Address	 Date

BILL OF QUANTITIES

### PREAMBLE

- The Bill of Quantities shall be read in conjunction with the instructions to Tenderers, General and Special conditions of Contract Technical Specifications and Drawings.

- The quantities given in the Bill of Quantities are estimated and provisional and are given to provide common basis for tendering. The quantities here given are those upon which the lump sum tender cost of the work is based but they are subject to alterations, omissions, deductions or additions as provided for in the conditions of this contract and do not necessarily show the actual quantities of work to be done. The basis of payment will be actual quantities of work ordered and carried out as measured by the Contractor and verified by the A.E.O(J) / Engineer in charge and valued at the agreement rate as approved by competent authority as per your quoted rates in the Bill of Quantities where applicable, and otherwise at such rates and prices as the Engineer-in-Charge may fix within the terms of Contract.

- The estimate rates in the Bill of Quantities shall, except in so-far as it is otherwise provided under the Contract include cost of all consumable material (except gold, copper sheet.), labour, machinery, transportation, fixing of gold malam sheets onto “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)” profit and duties together with all general risks, liabilities and obligations set out or implied in the Contract.

- The drawings of “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)” are liable to be altered during execution of work as per necessity. The Tender quoted rates by the tenderer shall hold good for execution of work even with altered plans.

- The whole cost of complying with the provisions of the Contract shall be included in the estimated rates for items provided in the Bill of Quantities and where no items are provided in the Bill of Quantities, their cost shall be deemed to be distributed among the estimate rates entered for the related items of work.

- General directions and descriptions of work and materials are not necessarily repeated nor summarised in the Bill of Quantities. References to the relevant sections of the Contract documentation shall be made before entering estimate rate against each item in the Bill of Quantities.

- The payment will be made on the weight of finished products after requesting the claim by the contractor with required documents.

- All items of work are to be executed as per the drawings / specifications supplied with the contract documents.If there is any contradiction between the drawings and the text of the specifications, the later shall prevail.

- The Contractor shall ensure that, the quoted tender rates shall cover all stages of work such as taking impressions, copper design work, gold malam work, including consumable materials, selection of tools and plant, deployment of skilled personnel and supervisory staff, quality control testing, fixing of finished gold malam sheets on to the “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)”. The work quality assurance shall be deemed to be covered in the tender rates.

- a) The special attention of the tenderer is drawn to the conditions in the tender notices wherein reference has been made to the Andhra Pradesh Standard Specifications [APSS] and the Standard preliminary specifications containing therein. These preliminary specifications shall apply to the agreement to be entered into between the contractor and the Government of Andhra Pradesh and shall form an in-separable condition of the contract along with the estimate. All these documents taken together shall be deemed to form one contract and shall be complimentary to another.

- The contractor shall himself procure the required consumable materials of approved quality.

- Inspection of site and quarries by the tenderer: Every tenderer is expected before quoting his tender rates, to inspect the site of proposed work.

- The tenderer’s particular attention is drawn to the sections and clauses in the A.P. standard specification dealing with

  - Test, inspection and rejection of defective workmanship.

  - Carriage

  - Tools required

  - Water and lighting

  - Cleaning up during the progress and for delivery.

  - Accidents

  - Delays

  - Particulars of payments.

The contractor should closely peruse all the specification clauses, which govern the overall tender percentage he is tendering.

- The defect liability period of contract in terms of GO Ms.No.8, T.R&B Dept., dt: 8.1.2003. However as this is labour oriented work the defect liability period is fixed as 12 (Twelve) months.

- If there is any contradiction between APSS / B.I.S. specifications, listed and detailed technical specifications, the latter shall prevail.

- In case of a job for which specifications are not available with the Schedule or in APSS / or B.I.S. code and are required to be prescribed, such work shall be carried out in accordance with the written instructions of the Engineer-in-charge.

- Additions and alternations by the Tenderer in the Schedule of quantities will disqualify the tender.

- In the case of discrepancies between the written description of the item in the Schedule “A” and the detailed description in the specification of the same item, the latter shall be adopted.

- It is to be expressly understood that the measured work is to be taken according to the actual quantities when in place and finished according to the drawings or as may be ordered from time to time by the Executive Engineer and the cost calculated by measurement or weight at their respective rates without any additional charge for any necessary or contingent works connected works connected herewith. The quoted rates are for works in situ and complete in every respect.

- For all items of work in excess of the quantities indicated the rates payable for such excess quantities will be tendered rates.

- For all items of work, intermediate payment will be made provisionally as per relevant clause. Full-accepted agreement rates will be paid only after all the items of works are completed.

- The contractor is bound to execute all supplemental works that are found essential incidental and inevitable during execution of main work.

- ENTRUSTMENT OF ADDITIONAL ITEMS.

- Where ever additional items not contingent on the main work and outside the scope of original agreement are to be entrusted to the original contractor dispensing with tenders and if the value of such items exceeds the limits upto which the officer is empowered to entrust works initially to contractor without calling for tenders approval of next higher authority shall be obtained. Entrustment of all such items on nomination shall be rates not exceeding the estimate rates.

- Entrustment of supplement items contingent on the main work will be authorized by the officers upto the monetary limits upto which they themselves are competent to accept items in the original agreement so long as the total amounts up to which they are competent to accept in an original agreement rates for such items shall be worked in accordance with the procedure prescribed in GO Ms.No.1493 PWD, dated:25.10.1971 and as amended in Govt. Memo number 544 cod 72-22 dt:6.7.1973.

- Entrustment of either the additional supplemental items shall be further subject to the provisions under para 176(b) of APWD Code Viz., the items shall not be ordered by an officer on his own responsibility if the revised estimate or deviation statement providing for the same requires the sanction of higher authority.

SCHEDULE- A

SCHEDULE OF RATES AND APPROXIMATE QUANTITIES

A) 	The quantities here given are those up to which the lump sum tender cost of the work is based, but they are subject to alteration, omissions, deduction or additional as provided for in the conditions of this contract and not so necessarily show the actual quantities of work to be done. The unit rates noted below are those governing, payment for extras of deductions or omissions according to the condition of the contract as set forth in the preliminary specifications of the A.P. Detailed Standard Specification and other conditions specification of this contract.

B) 	It is to be expressly under stood that the measured work is to be taken net (not withstanding any custom or practice to the contrary) according to the actual quantities when in place and finished according to the drawings or as may be ordered from time to time by the Chief Engineer / Superintending Engineer / Executive Engineer concerned and the cost calculated by measurement or weight, at the respective prices, without any additional charges for any necessary or contingent works connected therewith. The rates quoted are for works is site and complete in every respect.

### BILL OF QUANTITIES

PRICE BID.

## Name of work : “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)”.

| Sl. No. | Quantity | Description of item | Unit | Rate In figures | Rate in words |
| --- | --- | --- | --- | --- | --- |
| 1 | 7.00 Kgs | Labour charges for Copper designing work of copper sheets of 18 gauge by cutting, bending, braising, heating/hammering process or other approved process so as to bend and shape the copper sheet as per the ornamental features to Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam or any other design as approved by the department at TTD work shop at Tirupati and buffing the exposed outer face so as to carry out gold malam including the cost of men and miscellaneous material (excluding cost of copper sheet), hire charges of tools, consumables, etc., including taking necessary impressions of existing ornamental features of Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam etc, Complete. including fixing the components after Gold malam completed works on the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam as directed by the department during execution including any other incidental charges, other taxes if any but excluding GST etc., complete. The GST will be paid as per applicable rules in tender. Note: Wastage allowed for Copper work 5% | One kilo gram |  |  |
| 2 | 162.50 Grams | Labour charges for Gold malam work 9 layers Including making foils, cutting melting, Sheeting, buffing and finishing, etc on to the already prepared copper components, with all the consumables required for Gold Malam work at contractors cost. as per the terms and conditions of the contract etc, complete. The labour charges shall quote excluding GST and the GST will be paid as per applicable rules in tender. Note: Wastage allowed for Gold malam work 1%. | One Gram |  |  |

Note:

## Time for completion=    1 (One) Month

  - Materials:

## Copper =7.00   Kgs

## Gold 24Ct= 162.50 Grams

  - Wastage allowed:

## For Copper Design work: 5%

## For Gold malam work: 1%

4. * In ap eproc portal quote the total value of contract as the above mentioned

Place :

Date :

### DECLARATION

The tenderer shall have to furnish the following declaration:

    - That the firm is not black listed or banned in any department in any State or Central Govt. or any PSU/ local bodies or quasi govt. agencies due to any reason.

    - That the firm is not disqualified for any wrong declaration.

    - That firm agrees to disqualification of tender forms summarily in case of wrongful representation of facts comes to notice at any later date.

    - We shall be responsible for claims/ counter claims of any notice on the gold Jewellery.

PART-II

Reimbursable provisions

## Name of work: “Preparation and supply of Gold malam on Copper design work for the Padma Peetham to Goddess Padmavathi Ammavaru in Sri Kalyana Venkateswara Swamy Temple, Narayanavanam” (Labour charges only)”

## 1) GST (Works Contract)	:	Applicable as Specified in Clause 102

## Submitted:-

A draft tender schedule containing pages (1) to (  ) for the subject work is put up for approval.