## MEP BOQ Schedule
GOVERNMENT OF ANDHRA PRADESH — AMARAVATI LEGISLATIVE ASSEMBLY BUILDING
BILL OF QUANTITIES (BOQ) — ELECTRICAL, HVAC, FIRE FIGHTING, LIFTS, ELV & PLUMBING PACKAGE
Tender ID: 996686 ¦ Notice Ref: 21/MD/CE(ELE)AGICL/2026, Dt.28.09.2026 ¦ ECV: Rs. 3,37,90,33,865/-
Item No. | Item Description | Quantity | Units | Estimated Rate (INR) | Total Amount (INR)
1.01 | Water Cooled Centrifugal Chiller Units (1200 TR each, Eco-refrigerant R1233zd, VFD drive) | 4 | Sets | 145000000 | 580000000
1.02 | Cross-Flow Induced Draft FRP Cooling Towers (1500 TR capacity, low-noise VFD fans) | 4 | Nos | 35000000 | 140000000
1.03 | Primary & Secondary Chilled Water End-Suction Pumps (1800 GPM, 45m head, IE4 motor) | 8 | Sets | 22500000 | 180000000
1.04 | Double-Skin Floor Mounted Air Handling Units (AHUs 5,000 to 25,000 CFM, EC Plug Fans) | 52 | Nos | 1850000 | 96200000
1.05 | Factory Fabricated GI Ductwork with Class O Nitrile Rubber Thermal Insulation | 85000 | Sqm | 2200 | 187000000
1.06 | Heavy Duty MS Heavy-Gauge Chilled Water Piping (150mm to 450mm dia with PUF insulation) | 12000 | Rmt | 12500 | 150000000
2.01 | 11kV/433V 2500 kVA Dry Type Cast Resin Transformers with Off-Circuit Tap Changer | 4 | Nos | 9500000 | 38000000
2.02 | 11kV Indoor Vacuum Circuit Breaker (VCB) HT Switchgear Panel (1250A, 25kA for 3 sec) | 12 | Panels | 4200000 | 50400000
2.03 | Main LT Power Distribution Switchboard with Form 4b Separation & ACB incomers (4000A) | 6 | Sets | 18500000 | 111000000
2.04 | Sandwich Busduct Rising Mains (3200A & 2500A Copper, IP68 rated) | 2200 | Rmt | 45000 | 99000000
2.05 | 1.1kV Grade XLPE Insulated FRLS Copper Power Cables (240 sqmm to 400 sqmm) | 65000 | Rmt | 3800 | 247000000
2.06 | Perforated GI Hot-Dip Galvanized Cable Trays with covers and supports (300mm to 600mm) | 24000 | Rmt | 2400 | 57600000
3.01 | Electric Motor Driven Main Fire Hydrant Pump (2850 LPM @ 105m Head, 110 kW) | 3 | Sets | 3800000 | 11400000
3.02 | Diesel Engine Driven Standby Fire Pump (2850 LPM @ 105m Head) | 3 | Sets | 5200000 | 15600000
3.03 | Automatic Wet Sprinkler System Network with Quartzoid Bulb Sprinkler Heads (68 deg C) | 18000 | Nos | 4500 | 81000000
3.04 | FK-5-1-12 (Novec 1230) Clean Agent Total Flooding Fire Suppression System for Server & Archives | 8 | Systems | 6500000 | 52000000
4.01 | Machine-Room-Less (MRL) High-Speed Gearless Passenger Elevators (24 Passenger / 2.5 m/s) | 12 | Nos | 8500000 | 102000000
4.02 | Inclined Panoramic Glass Capsule Elevators with Custom VVIP Interior Finishes | 2 | Nos | 18500000 | 37000000
5.01 | Category 6A F/UTP Low-Smoke Zero-Halogen (LSZH) Structured Cabling Network & Racks | 12000 | Nodes | 6200 | 74400000
5.02 | IP-Based High-Definition CCTV Surveillance System (4K Fixed & PTZ Cameras with AI Analytics) | 450 | Cameras | 55000 | 24750000
5.03 | Intelligent Addressable Fire Alarm Control Panel (FACP) & Multi-Sensor Optical Smoke Detectors | 5500 | Points | 4800 | 26400000
5.04 | Digital Public Address & Voice Alarm (PAVA) Network with EN54-24 certified ceiling speakers | 1800 | Speakers | 8500 | 15300000
6.01 | Hydro-Pneumatic Domestic & Flushing Water Supply Pumping Systems with VFD Controllers | 6 | Sets | 4200000 | 25200000
6.02 | Composite Balance of Plant Engineering, Testing, Commissioning, Balancing & Statutory Clearances | 1 | Lump-sum | 977783865 | 977783865
TOTAL ESTIMATED CONTRACT VALUE (ECV) INR