## e-item
Estimate Quantity (only Figures) | Item Detailed Specification Description | Work Type eg. Earth Work, Electrical works.. etc ( upto 200 Characters) | Item Short Description ( upto 100 Characters) | APSS / Morth Cl. Number ( upto 200 Characters) | Rate (INR) ( Upto 2 Decimals ) | UOM ( upto 50 Characters) | Amount (INR) ( Upto 2 Decimals )
25.3 | EARTH WORK EXCAVATION (foundation) in all kinds of soils | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | EARTH WORK EXCAVATION (foundation) in all kinds of soils | SS | 395.4 | 1 Cum | 10004
2 | Supply and transportation of 9.0 M length 150X150 mm RS Joist poles ( Wt of pole 333 Kgs ) | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and transportation of 9.0 M length 150X150 mm RS Joist poles ( Wt of pole 333 Kgs ) | SS | 28375.4 | 1 No | 56751
23 | Refilling of excavated earth in Foundations and Basement including spreading in layers watering compaction | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Refilling of excavated earth in Foundations and Basement including spreading in layers watering compaction | SS | 43.8 | 1 Cum | 1007
4 | Hire charges for engaging of 16 Tonne capacity Crane for erection of RS Joist poles and VCBs | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Hire charges for engaging of 16 Tonne capacity Crane for erection of RS Joist poles and VCBs | SS | 5619 | 1 Hr | 22476
890 | Supply,fabrication and Erection of the following Mild Steel Members MS Chanels /Angles/ Beams /MS Flat | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply,fabrication and Erection of the following Mild Steel Members MS Chanels /Angles/ Beams /MS Flat | SS | 129.9 | 1 Kg | 115611
50 | supply,transportation and fixing of MS Bolts,Nuts and Washers | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | supply,transportation and fixing of MS Bolts,Nuts and Washers | SS | 139.2 | 1 Kg | 6960
1 | Supply and fixing of 11 KV,400 Amp 3 phase central post rotating double breack type AB switch | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 11 KV,400 Amp 3 phase central post rotating double breack type AB switch | SS | 24745.3 | 1 No | 24745
3 | Supply and fixing of distribution type lightning arresters 11KV,5kA | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of distribution type lightning arresters 11KV,5kA | SS | 3436.9 | 1 Sqm | 10311
4 | Supply ans errection of GI stay set of dia 20mm,2.4 Mtr long stay rod and anchor plate 380mmX380mmX6.4mm | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply ans errection of GI stay set of dia 20mm,2.4 Mtr long stay rod and anchor plate 380mmX380mmX6.4mm | SS | 2550.7 | 1 Set | 10203
100 | Supply,transportation and run of Over Head 100 sqmm AAA conductor | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply,transportation and run of Over Head 100 sqmm AAA conductor | SS | 116.2 | 1 Rm | 11620
3 | Supply and fixing of 100 Amp, 11 KV Horn Gap fuse set | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 100 Amp, 11 KV Horn Gap fuse set | SS | 7561.1 | 1 Set | 22683
9 | Supply and fixing of 11 KV Polymer /porceline pin type Insulator | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 11 KV Polymer /porceline pin type Insulator | SS | 250 | 1 No | 2250
10 | Painting with aluminium paint two coats up to 3.66m hight | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Painting with aluminium paint two coats up to 3.66m hight | SS | 205.8 | 1 Sqm | 2058
40 | Painting with aluminium paint two coats from 3.66m and above | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Painting with aluminium paint two coats from 3.66m and above | SS | 256.2 | 1 Sqm | 10248
1 | Supply, Transportation, Installation, Testing and Commissioning of 11/0.433 500 KVA TRANSFORMER | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply, Transportation, Installation, Testing and Commissioning of 11/0.433 500 KVA TRANSFORMER | SS | 1881836 | 1 No | 1881836
1 | Supply, testting, transport and errection of 11KV, 800 Amps, 25kA outdoor type VCB panel | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply, testting, transport and errection of 11KV, 800 Amps, 25kA outdoor type VCB panel | SS | 484500 | 1 No | 484500
8 | Supply and Making heat shrinkable type outdoor termination | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and Making heat shrinkable type outdoor termination | SS | 15157.4 | 1 No | 121259
75 | Supply and Transportation of 3C X 90Sq mm H.T. cable | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and Transportation of 3C X 90Sq mm H.T. cable | SS | 1271.4 | 1 Rm | 95355
110 | Supply and transportation of 400 sqmm X 3.5 core XPLE Aluminium 1100v grade UG cable | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and transportation of 400 sqmm X 3.5 core XPLE Aluminium 1100v grade UG cable | SS | 2823.3 | 1 Rm | 310563
30 | supply and transportation of 10 sqmm X 4 core XPLE Aluminium 1100v grade UG cable | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | supply and transportation of 10 sqmm X 4 core XPLE Aluminium 1100v grade UG cable | SS | 195.4 | 1 Rm | 5862
100 | Supply and transportation of 6 sqmm X 2 core Aluminium 1100v Grade UG cable | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and transportation of 6 sqmm X 2 core Aluminium 1100v Grade UG cable | SS | 125 | 1 Rm | 12500
110 | Labour charges for UG cable Run in existing pipe/trench above 50 sq mm | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Labour charges for UG cable Run in existing pipe/trench above 50 sq mm | SS | 47.4 | 1 Rm | 5214
100 | Labour charges for UG cable Run in existing pipe/trench up to 50 sq mm | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Labour charges for UG cable Run in existing pipe/trench up to 50 sq mm | SS | 47.4 | 1 Rm | 4740
30 | Labour charges forUG cable Run on wall up to 50 sqmm | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Labour charges forUG cable Run on wall up to 50 sqmm | SS | 65.7 | 1 Rm | 1971
2 | Supply and making one end termination with 3.5 core x 400 sq.mm | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and making one end termination with 3.5 core x 400 sq.mm | SS | 3299.4 | 1 No | 6599
30 | Supply and laying of 50mm X 6mm copper flat | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and laying of 50mm X 6mm copper flat | SS | 2794.9 | 1 Rm | 83847
125 | Supply and laying of 50mm X 6mm GI flat | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and laying of 50mm X 6mm GI flat | SS | 236.3 | 1 Rm | 29538
25 | Supply and laying of No.8 SWG GI wire | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and laying of No.8 SWG GI wire | SS | 11.4 | 1 Rm | 285
24 | Supply and laying of 25mm X 3mm copper strip | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and laying of 25mm X 3mm copper strip | SS | 690.8 | 1 Rm | 16579
4 | Providing independent earthing for sophisticated Electronic equipment with 600mm X 600mm X 3.15 mm thick copper plate | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Providing independent earthing for sophisticated Electronic equipment with 600mm X 600mm X 3.15 mm thick copper plate | SS | 18398.6 | 1 No | 73594
10 | Providing independent earthing for Important equipment with 100mm dia Heavy gauge C.I ( Cast iron ) pipe | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Providing independent earthing for Important equipment with 100mm dia Heavy gauge C.I ( Cast iron ) pipe | SS | 10310.6 | 1 No | 103106
3 | Providing floor mounting stand for keeping 4 No of fire Bucket | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Providing floor mounting stand for keeping 4 No of fire Bucket | SS | 1512.2 | 1 No | 4537
12 | Supply of round bottom GI sheet bucket of 9Ltrs capacity | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply of round bottom GI sheet bucket of 9Ltrs capacity | SS | 371.5 | 1 No | 4458
5 | Supply and fixing of Co2 type fire Exitinguishers 4.5 Kg Capacity | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of Co2 type fire Exitinguishers 4.5 Kg Capacity | SS | 13838.3 | 1 Rm | 69192
6 | Supply and fixing of Shock instruction chart in English/Hindi/ Telugu duly framed with front glass | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of Shock instruction chart in English/Hindi/ Telugu duly framed with front glass | SS | 662.4 | 1 No | 3974
8 | Supply and fixing of cable root indicators of size 152 mm round/ 102mm X 102mm / 152mm x 152mm | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of cable root indicators of size 152 mm round/ 102mm X 102mm / 152mm x 152mm | SS | 125 | 1 No | 1000
6 | Supply and fixing of Danger Notice plate size of 250 X 200mm | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of Danger Notice plate size of 250 X 200mm | SS | 331.8 | 1 No | 1991
2 | Supply of 11 KV/22KV hand gloves | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply of 11 KV/22KV hand gloves | SS | 294.3 | 1 No | 589
5 | Supply and run of 25 mm dia 'B' Class GI pipe | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and run of 25 mm dia 'B' Class GI pipe | SS | 413.6 | 1 Rm | 2068
5 | Supply and run of 40 mm dia 'B' Class GI pipe | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and run of 40 mm dia 'B' Class GI pipe | SS | 568 | 1 Rm | 2840
24 | Supply and run of 65 mm dia 'B' Class GI pipe | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and run of 65 mm dia 'B' Class GI pipe | SS | 850 | 1 Rm | 20400
15 | Supply and run of 2 of 4.0 sq mm copper wire | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and run of 2 of 4.0 sq mm copper wire | SS | 162.1 | 1 Rm | 2432
5 | Supply and run of 2 of 6.0 sqmm copper wire | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and run of 2 of 6.0 sqmm copper wire | SS | 222.9 | 1 Rm | 1115
75 | Supply and run of 2 of 1.0 sqmm copper wire | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and run of 2 of 1.0 sqmm copper wire | SS | 64 | 1 Rm | 4800
10 | Supply and run of 2 of 2.5 sqmm copper wire | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and run of 2 of 2.5 sqmm copper wire | SS | 106.8 | 1 Rm | 1068
10 | Supply and run of 1 of 2.5 sqmm copper wire | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and run of 1 of 2.5 sqmm copper wire | SS | 53.5 | 1 Rm | 535
25 | Supply and Fixing of 63mm outer dia, 2.10 - 2.30 mm thickes Surface PVC conduit pipe | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and Fixing of 63mm outer dia, 2.10 - 2.30 mm thickes Surface PVC conduit pipe | SS | 206.1 | 1 Rm | 5153
75 | Supply and Fixing of 20mm outer dia,1.40-1.55 mm thickness, Surface PVCconduit pipe | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and Fixing of 20mm outer dia,1.40-1.55 mm thickness, Surface PVCconduit pipe | SS | 111 | 1 Rm | 8325
100 | supply and fixing of outer dia 50mm and inner dia 38mm HDPE pipe | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | supply and fixing of outer dia 50mm and inner dia 38mm HDPE pipe | SS | 187.5 | 1 Rm | 18750
30 | supply and fixing of Outer dia 200mm and inner dia 170mm | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | supply and fixing of Outer dia 200mm and inner dia 170mm | SS | 876 | 1 Rm | 26280
1 | Supply and fixing of 4way TPNDB of IP-43(Vertical) | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 4way TPNDB of IP-43(Vertical) | SS | 11355.8 | 1 No | 11356
1 | Supply and fixing of 40 Amps 4 Pole Isolater | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 40 Amps 4 Pole Isolater | SS | 1283.5 | 1 No | 1284
6 | Supply and fixing of 6 - 32 Amp SP MCB | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 6 - 32 Amp SP MCB | SS | 354.9 | 1 No | 2129
2 | Supply and fixing of 6-32 Amp TP MCB C/D curve | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 6-32 Amp TP MCB C/D curve | SS | 1441.3 | 1 No | 2883
7 | Supply, transportation and fixing of 90/100 LED Flood light | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply, transportation and fixing of 90/100 LED Flood light | SS | 8654.1 | 1 No | 60579
3 | Supply, transportation and fixing of 90W LED Street Light Luminaire | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply, transportation and fixing of 90W LED Street Light Luminaire | SS | 8176.9 | 1 No | 24531
2 | Supply and fixing of 6''X8'' T.W board with 3mm thick hylam sheet | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 6''X8'' T.W board with 3mm thick hylam sheet | SS | 160.5 | 1 No | 321
2 | Supply and fixing of 6A, 3/2 pin flush type socket with shutter | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 6A, 3/2 pin flush type socket with shutter | SS | 186.4 | 1 No | 373
2 | Supply and fixing ISI marked of 32A, 240V DP Flush type switch | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing ISI marked of 32A, 240V DP Flush type switch | SS | 213.9 | 1 No | 428
20 | Supply installation testing and commissioning of free standing floor mounted dust and vermin proof | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply installation testing and commissioning of free standing floor mounted dust and vermin proof | SS | 6346.5 | 1 Sqm | 126930
1 | Supply of Air Circuit Breaker 1600A, 4 Pole, 50kA electrically operated, manually draw out type | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply of Air Circuit Breaker 1600A, 4 Pole, 50kA electrically operated, manually draw out type | SS | 227845.8 | 1 No | 227846
2 | Supply and erection of Panel mounted 630 A, 4P MCCB | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and erection of Panel mounted 630 A, 4P MCCB | SS | 52500.3 | 1 No | 105001
1 | Supply and erection of Panel mounted 250 A, 4P MCCB | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and erection of Panel mounted 250 A, 4P MCCB | SS | 29061.6 | 1 No | 29062
1 | Supply and erection of Panel mounted 125 A, 4P MCCB | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and erection of Panel mounted 125 A, 4P MCCB | SS | 12599.2 | 1 No | 12599
1 | Supply and fixing of CT operated direct reading type Above 500A Digital Ammeter | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of CT operated direct reading type Above 500A Digital Ammeter | SS | 2374.6 | 1 No | 2375
1 | Supply and Fixing of (0-500) V range Digital type Volt meter | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and Fixing of (0-500) V range Digital type Volt meter | SS | 2374.6 | 1 No | 2375
3 | Supply and Fixing of Current Transformer, from 500/5 to 1600/5 ratio | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and Fixing of Current Transformer, from 500/5 to 1600/5 ratio | SS | 1187.3 | 1 No | 3562
1 | Supply , Transportation and fixing of energy analyzer | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply , Transportation and fixing of energy analyzer | SS | 13122.5 | 1 No | 13123
1 | Supply transportation Testing and instalation of 100 KVAR APFC Panel | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply transportation Testing and instalation of 100 KVAR APFC Panel | SS | 176460 | 1 Job | 176460
50 | Supply and fixing of bus bar by means of SMC / DMC type insulator Electrolytic grade Al- bus bar | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of bus bar by means of SMC / DMC type insulator Electrolytic grade Al- bus bar | SS | 532.9 | 1 Kg | 26645
5 | Supply and fixing of bus bar by means of SMC / DMC type insulator Electrolytic grade Copper- bus bar | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of bus bar by means of SMC / DMC type insulator Electrolytic grade Copper- bus bar | SS | 1124.8 | 1 Kg | 5624
16 | supply and making end termination with 400 sqmm heavy aluminium lugs (pin/ring type ) | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | supply and making end termination with 400 sqmm heavy aluminium lugs (pin/ring type ) | SS | 234 | 1 No | 3744
6 | Supply and fixing of PVC synthetic elastomer electrically insulated | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of PVC synthetic elastomer electrically insulated | SS | 5224 | 1 Rm | 31344
4 | Wiring with 2 runs of 1.0 Sq.mm, P.V.C insulated flexible copper cables 1100V | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Wiring with 2 runs of 1.0 Sq.mm, P.V.C insulated flexible copper cables 1100V | SS | 712.9 | 1 No | 2852
2 | Supply & fixing of 1x 20 watts Retrofit Tube light with alluminium anadised body on wall / Ceiling with TW round blocks with all accessories | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply & fixing of 1x 20 watts Retrofit Tube light with alluminium anadised body on wall / Ceiling with TW round blocks with all accessories | SS | 1076.2 | 1 No | 2152
1 | Supply and fixing of 48"(1200mm) sweep 5 star rated BLDC Ceiling Fan | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 48"(1200mm) sweep 5 star rated BLDC Ceiling Fan | SS | 4222.4 | 1 No | 4222
1 | Supply and erecting of fan D-hook in RCC roof slab by drilling the slab with machine | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and erecting of fan D-hook in RCC roof slab by drilling the slab with machine | SS | 247.4 | 1 No | 247
1 | Supply of 19/20 mm steel tube fan down rod including cost of transportation | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply of 19/20 mm steel tube fan down rod including cost of transportation | SS | 135.2 | 1 Rm | 135
1 | Labour charges for 19/20mm steel tube down rod with bolts & nuts duly painted with matching colour of fan | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Labour charges for 19/20mm steel tube down rod with bolts & nuts duly painted with matching colour of fan | SS | 91 | 1 Job | 91
1 | Supply and fixing of 12"(300mm) Heavy duty Exhaust fans | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 12"(300mm) Heavy duty Exhaust fans | SS | 4413.8 | 1 No | 4414
2 | Supply and fixing of 250A 4pole 415V MCCB | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 250A 4pole 415V MCCB | SS | 3240 | 1 No | 6480
2 | Supply and fixing of 630A 4pole 415V MCCB | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Supply and fixing of 630A 4pole 415V MCCB | SS | 3960 | 1 No | 7920
1 | Job chart for the CEIG approval preparation schematic single line diagram | Providing Electrical Infrastructure to Intermediate Charging Station at Adoni Bus Station, Kurnool District (3rd Call). | Job chart for the CEIG approval preparation schematic single line diagram | SS | 80000 | 1 Job | 80000
[6 empty] | Total | 4702869
9405738